## qubit-iso
run_ID | assay_name | test_name | test_date | qubit_tube_conc_ng.ml | original_sample_conc_ng.ul | sample_vol_ul | dilution_factor | tube_number | extraction_method | ul_sample-used | eultion_vol_ul | total-yield_ng | sample_type | notes | notebook_post_link
2018-02-28_175834 | RNA High sensitivity | Sample_#180228-175924 | 2018-02-28 17:59 | 44.8 | 0.896 | 10 | 20 | 56 | RNAzol | all | 50 | 35.84 | pellet |  | https://grace-ac.github.io/RNA-isolation-mistake/
2018-02-28_175834 | RNA High sensitivity | Sample_#180228-180013 | 2018-02-28 18:00 | Out of range | Out of range | 10 | 20 | 176 | RNAzol | all | 50 | #VALUE! | pellet |  | https://grace-ac.github.io/RNA-isolation-mistake/
2018-03-26_132437 | RNA High sensitivity | Sample_#180326-132518 | 2018-03-26 13:25 | 42.8 | 1.71 | 5 | 40 | 77 | RNAzol | all | 50 | 76.95 | pellet |  | https://grace-ac.github.io/DIA-error-rate-Qubit-RNA/
2018-03-26_132437 | RNA High sensitivity | Sample_#180326-132528 | 2018-03-26 13:25 | 0 | 0 | 5 | 40 | 465 | RNAzol | all | 50 | 0 | pellet |  | https://grace-ac.github.io/DIA-error-rate-Qubit-RNA/
2018-03-26_133510 | RNA High sensitivity | Sample_#180326-133542 | 2018-03-26 13:35 | 50 | 2 | 5 | 40 | 313 | RNAzol | all | 50 | 90 | pellet |  | https://grace-ac.github.io/DIA-error-rate-Qubit-RNA/
2018-03-26_133510 | RNA High sensitivity | Sample_#180326-133550 | 2018-03-26 13:35 | 0 | 0 | 5 | 40 | 508 | RNAzol | all | 50 | 0 | pellet |  | https://grace-ac.github.io/DIA-error-rate-Qubit-RNA/
2018-03-27_150807 | RNA High sensitivity | Sample_#180327-150836 | 2018-03-27 15:08 | 0 | 0 | 5 | 40 | 65 | RNAzol | all | 50 | 0 | pellet |  | https://grace-ac.github.io/RNA-isolation-third-batch-with-Qubit-results/
2018-03-27_150807 | RNA High sensitivity | Sample_#180327-150845 | 2018-03-27 15:08 | 45.1 | 1.8 | 5 | 40 | 498 | RNAzol | all | 50 | 81 | pellet |  | https://grace-ac.github.io/RNA-isolation-third-batch-with-Qubit-results/
2018-03-28_141627 | RNA High sensitivity | Sample_#180328-141656 | 2018-03-28 14:16 | 28.9 | 1.16 | 5 | 40 | 55 | RNAzol | all | 50 | 52.2 | pellet |  | https://grace-ac.github.io/RNA-isolation-and-Qubit-results-SO-Successful/
2018-03-28_141627 | RNA High sensitivity | Sample_#180328-141720 | 2018-03-28 14:17 | 129 | 5.16 | 5 | 40 | 469 | RNAzol | all | 50 | 232.2 | pellet |  | https://grace-ac.github.io/RNA-isolation-and-Qubit-results-SO-Successful/
2018-04-03_150806 | RNA High sensitivity | Sample_#180403-150840 | 2018-04-03 15:08 | 126 | 5.04 | 5 | 40 | 46 | RNAzol | all |  |  | pellet
2018-04-03_150806 | RNA High sensitivity | Sample_#180403-150850 | 2018-04-03 15:08 | 89.4 | 3.58 | 5 | 40 | 457 | RNAzol | all |  |  | pellet
2018-04-04_135753 | RNA High sensitivity | Sample_#180404-135821 | 2018-04-04 13:58 | 33 | 1.32 | 5 | 40 | 154 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolation-continued/
2018-04-04_135753 | RNA High sensitivity | Sample_#180404-135829 | 2018-04-04 13:58 | 68.8 | 2.75 | 5 | 40 | 428 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolation-continued/
2018-04-06_133810 | RNA High sensitivity | Sample_#180406-133835 | 2018-04-06 13:38 | 88 | 3.52 | 5 | 40 | 4 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/Qubit-and-DecaPod/
2018-04-06_133810 | RNA High sensitivity | Sample_#180406-133846 | 2018-04-06 13:38 | 123 | 4.92 | 5 | 40 | 14 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/Qubit-and-DecaPod/
2018-04-06_133810 | RNA High sensitivity | Sample_#180406-133855 | 2018-04-06 13:38 | 50.2 | 2.01 | 5 | 40 | 327 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/Qubit-and-DecaPod/
2018-04-06_133810 | RNA High sensitivity | Sample_#180406-133905 | 2018-04-06 13:39 | 144 | 5.76 | 5 | 40 | 348 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/Qubit-and-DecaPod/
2018-04-06_133810 | RNA High sensitivity | Sample_#180406-133914 | 2018-04-06 13:39 | 67 | 2.68 | 5 | 40 | 353 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/Qubit-and-DecaPod/
2018-04-06_133810 | RNA High sensitivity | Sample_#180406-133933 | 2018-04-06 13:39 | 46.1 | 1.84 | 5 | 40 | 477 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/Qubit-and-DecaPod/
2018-04-06_133810 | RNA High sensitivity | Sample_#180406-133923 | 2018-04-06 13:39 | 26.9 | 1.08 | 5 | 40 | 492 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/Qubit-and-DecaPod/
2018-04-06_140231 | RNA High sensitivity | Sample_#180406-140256 | 2018-04-06 14:02 | 34.6 | 1.38 | 5 | 40 | 26 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/Qubit-and-DecaPod/
2018-04-06_140231 | RNA High sensitivity | Sample_#180406-140308 | 2018-04-06 14:03 | 58.4 | 2.34 | 5 | 40 | 59 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/Qubit-and-DecaPod/
2018-04-06_140231 | RNA High sensitivity | Sample_#180406-140317 | 2018-04-06 14:03 | 0 | 0 | 5 | 40 | 66 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/Qubit-and-DecaPod/
2018-04-06_140231 | RNA High sensitivity | Sample_#180406-140332 | 2018-04-06 14:03 | 61.1 | 2.44 | 5 | 40 | 305 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/Qubit-and-DecaPod/
2018-04-06_140231 | RNA High sensitivity | Sample_#180406-140342 | 2018-04-06 14:03 | 92.8 | 3.71 | 5 | 40 | 358 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/Qubit-and-DecaPod/
2018-04-06_140231 | RNA High sensitivity | Sample_#180406-140351 | 2018-04-06 14:03 | 0 | 0 | 5 | 40 | 476 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/Qubit-and-DecaPod/
2018-04-06_140231 | RNA High sensitivity | Sample_#180406-140402 | 2018-04-06 14:04 | 0 | 0 | 5 | 40 | 505 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/Qubit-and-DecaPod/
2018-04-09_131825 | RNA High sensitivity | Sample_#180409-131852 | 2018-04-09 13:18 | 183 | 7.32 | 5 | 40 | 47 |  |  |  |  | pellet
2018-04-09_131825 | RNA High sensitivity | Sample_#180409-131912 | 2018-04-09 13:19 | 0 | 0 | 5 | 40 | 38 |  |  |  |  | pellet
2018-04-09_131825 | RNA High sensitivity | Sample_#180409-131936 | 2018-04-09 13:19 | 35.6 | 1.42 | 5 | 40 | 314 |  |  |  |  | pellet
2018-04-09_131825 | RNA High sensitivity | Sample_#180409-131924 | 2018-04-09 13:19 | 22 | 0.88 | 5 | 40 | 339 |  |  |  |  | pellet
2018-04-09_131825 | RNA High sensitivity | Sample_#180409-131947 | 2018-04-09 13:19 | 44.9 | 1.8 | 5 | 40 | 346 |  |  |  |  | pellet
2018-04-09_131825 | RNA High sensitivity | Sample_#180409-132019 | 2018-04-09 13:20 | 0 | 0 | 5 | 40 | 474 |  |  |  |  | pellet
2018-04-09_131825 | RNA High sensitivity | Sample_#180409-132008 | 2018-04-09 13:20 | 22 | 0.88 | 5 | 40 | 507 |  |  |  |  | pellet
2018-04-09_133705 | RNA High sensitivity | Sample_#180409-133728 | 2018-04-09 13:37 | 0 | 0 | 5 | 40 | 12 |  |  |  |  | pellet
2018-04-09_133705 | RNA High sensitivity | Sample_#180409-133740 | 2018-04-09 13:37 | 43.1 | 1.72 | 5 | 40 | 21 |  |  |  |  | pellet
2018-04-09_133705 | RNA High sensitivity | Sample_#180409-133749 | 2018-04-09 13:37 | 99.9 | 4 | 5 | 40 | 309 |  |  |  |  | pellet
2018-04-09_133705 | RNA High sensitivity | Sample_#180409-133757 | 2018-04-09 13:37 | 38.8 | 1.55 | 5 | 40 | 360 |  |  |  |  | pellet
2018-04-09_133705 | RNA High sensitivity | Sample_#180409-133806 | 2018-04-09 13:38 | 139 | 5.56 | 5 | 40 | 349 |  |  |  |  | pellet
2018-04-09_133705 | RNA High sensitivity | Sample_#180409-133824 | 2018-04-09 13:38 | 129 | 5.16 | 5 | 40 | 469 |  |  |  |  | pellet
2018-04-09_133705 | RNA High sensitivity | Sample_#180409-133815 | 2018-04-09 13:38 | 54.4 | 2.18 | 5 | 40 | 502 |  |  |  |  | pellet
2018-04-10_144639 | RNA High sensitivity | Sample_#180410-144704 | 2018-04-10 14:47 | 104 | 4.16 | 5 | 40 | 36 |  |  |  |  | pellet
2018-04-10_144639 | RNA High sensitivity | Sample_#180410-144712 | 2018-04-10 14:47 | 70.3 | 2.81 | 5 | 40 | 88 |  |  |  |  | pellet
2018-04-10_172219 | RNA High sensitivity | Sample_#180410-172241 | 2018-04-10 17:22 | 50.6 | 2.02 | 5 | 40 | 153 |  |  |  |  | pellet
2018-04-10_172219 | RNA High sensitivity | Sample_#180410-172253 | 2018-04-10 17:22 | 96.4 | 3.86 | 5 | 40 | 258 |  |  |  |  | pellet
2018-04-10_172219 | RNA High sensitivity | Sample_#180410-172304 | 2018-04-10 17:23 | 40.9 | 1.64 | 5 | 40 | 205 |  |  |  |  | pellet
2018-04-10_172219 | RNA High sensitivity | Sample_#180410-172313 | 2018-04-10 17:23 | 206 | 8.24 | 5 | 40 | 223 |  |  |  |  | pellet
2018-04-10_172219 | RNA High sensitivity | Sample_#180410-172336 | 2018-04-10 17:23 | 0 | 0 | 5 | 40 | 406 |  |  |  |  | pellet
2018-04-10_172219 | RNA High sensitivity | Sample_#180410-172346 | 2018-04-10 17:23 | 97.4 | 3.9 | 5 | 40 | 434 |  |  |  |  | pellet
2018-04-10_172219 | RNA High sensitivity | Sample_#180410-172322 | 2018-04-10 17:23 | 0 | 0 | 5 | 40 | 461 |  |  |  |  | pellet
2018-04-20_141741 | RNA High sensitivity | Sample_#180420-141824 | 2018-04-20 14:18 | 77.2 | 3.09 | 5 | 40 | 86 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/Crab-project-updates/
2018-04-20_141741 | RNA High sensitivity | Sample_#180420-141805 | 2018-04-20 14:18 | 0 | 0 | 5 | 40 | 120 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/Crab-project-updates/
2018-04-20_142939 | RNA High sensitivity | Sample_#180420-143000 | 2018-04-20 14:30 | 62.7 | 2.51 | 5 | 40 | 149 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/Crab-project-updates/
2018-04-20_142939 | RNA High sensitivity | Sample_#180420-143011 | 2018-04-20 14:30 | 61.1 | 2.44 | 5 | 40 | 274 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/Crab-project-updates/
2018-04-20_142939 | RNA High sensitivity | Sample_#180420-143021 | 2018-04-20 14:30 | 0 | 0 | 5 | 40 | 299 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/Crab-project-updates/
2018-04-20_142939 | RNA High sensitivity | Sample_#180420-143031 | 2018-04-20 14:30 | 44.9 | 1.8 | 5 | 40 | 370 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/Crab-project-updates/
2018-04-20_142939 | RNA High sensitivity | Sample_#180420-143039 | 2018-04-20 14:30 | 54.6 | 2.18 | 5 | 40 | 401 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/Crab-project-updates/
2018-04-20_142939 | RNA High sensitivity | Sample_#180420-143056 | 2018-04-20 14:30 | 36.4 | 1.46 | 5 | 40 | 402 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/Crab-project-updates/
2018-04-20_142939 | RNA High sensitivity | Sample_#180420-143048 | 2018-04-20 14:30 | 66 | 2.64 | 5 | 40 | 403 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/Crab-project-updates/
2018-04-23_174015 | RNA High sensitivity | Sample_#180423-174037 | 2018-04-23 17:40 | 147 | 5.88 | 5 | 40 | 125 | RNAzol | all |  |  | pellet
2018-04-23_174015 | RNA High sensitivity | Sample_#180423-174047 | 2018-04-23 17:40 | 120 | 4.8 | 5 | 40 | 251 | RNAzol | all |  |  | pellet
2018-04-23_174015 | RNA High sensitivity | Sample_#180423-174058 | 2018-04-23 17:40 | 206 | 8.24 | 5 | 40 | 444 | RNAzol | all |  |  | pellet
2018-04-23_174015 | RNA High sensitivity | Sample_#180423-174108 | 2018-04-23 17:41 | 28.9 | 1.16 | 5 | 40 | 23 | RNAzol | all |  |  | pellet
2018-04-23_174015 | RNA High sensitivity | Sample_#180423-174126 | 2018-04-23 17:41 | 167 | 6.68 | 5 | 40 | 215 | RNAzol | all |  |  | pellet
2018-04-23_174015 | RNA High sensitivity | Sample_#180423-174117 | 2018-04-23 17:41 | 21 | 0.84 | 5 | 40 | 253 | RNAzol | all |  |  | pellet
2018-04-23_174015 | RNA High sensitivity | Sample_#180423-174136 | 2018-04-23 17:41 | 201 | 8.04 | 5 | 40 | 409 | RNAzol | all |  |  | pellet
2018-04-23_180128 | RNA High sensitivity | Sample_#180423-180153 | 2018-04-23 18:01 | 133 | 5.32 | 5 | 40 | 128 | RNAzol | all |  |  | pellet
2018-04-23_180128 | RNA High sensitivity | Sample_#180423-180223 | 2018-04-23 18:02 | 77.6 | 3.1 | 5 | 40 | 106 | RNAzol | all |  |  | pellet
2018-04-23_180128 | RNA High sensitivity | Sample_#180423-180204 | 2018-04-23 18:02 | 117 | 4.68 | 5 | 40 | 202 | RNAzol | all |  |  | pellet
2018-04-23_180128 | RNA High sensitivity | Sample_#180423-180233 | 2018-04-23 18:02 | 53.1 | 2.12 | 5 | 40 | 229 | RNAzol | all |  |  | pellet
2018-04-23_180128 | RNA High sensitivity | Sample_#180423-180254 | 2018-04-23 18:02 | 155 | 6.2 | 5 | 40 | 230 | RNAzol | all |  |  | pellet
2018-04-23_180128 | RNA High sensitivity | Sample_#180423-180214 | 2018-04-23 18:02 | 125 | 5 | 5 | 40 | 412 | RNAzol | all |  |  | pellet
2018-04-23_180128 | RNA High sensitivity | Sample_#180423-180243 | 2018-04-23 18:02 | 23 | 0.92 | 5 | 40 | 435 | RNAzol | all |  |  | pellet
2018-04-24_143209 | RNA High sensitivity | Sample_#180424-143230 | 2018-04-24 14:32 | 66.6 | 2.66 | 5 | 40 | 80 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolation-update/
2018-04-24_143209 | RNA High sensitivity | Sample_#180424-143242 | 2018-04-24 14:32 | 161 | 6.44 | 5 | 40 | 247 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolation-update/
2018-04-24_145028 | RNA High sensitivity | Sample_#180424-145051 | 2018-04-24 14:50 | 154 | 6.16 | 5 | 40 | 453 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolation-update/
2018-04-24_145028 | RNA High sensitivity | Sample_#180424-145130 | 2018-04-24 14:51 | 0 | 0 | 5 | 40 | 42 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolation-update/
2018-04-24_145028 | RNA High sensitivity | Sample_#180424-145101 | 2018-04-24 14:51 | 54.8 | 2.19 | 5 | 40 | 78 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolation-update/
2018-04-24_145028 | RNA High sensitivity | Sample_#180424-145111 | 2018-04-24 14:51 | 88.7 | 3.55 | 5 | 40 | 214 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolation-update/
2018-04-24_145028 | RNA High sensitivity | Sample_#180424-145143 | 2018-04-24 14:51 | 44.1 | 1.76 | 5 | 40 | 225 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolation-update/
2018-04-24_145028 | RNA High sensitivity | Sample_#180424-145121 | 2018-04-24 14:51 | 141 | 5.64 | 5 | 40 | 419 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolation-update/
2018-04-24_145028 | RNA High sensitivity | Sample_#180424-145153 | 2018-04-24 14:51 | 44.2 | 1.77 | 5 | 40 | 440 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolation-update/
2018-04-25_142113 | RNA High sensitivity | Sample_#180425-142134 | 2018-04-25 14:21 | 147 | 5.88 | 5 | 40 | 496 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/Data-organization/
| RNA High sensitivity |  | 2018-04-26 | Out of range | Out of range |  |  | 57 | RNAzol | all |  |  | pellet | isolated on 4/26/19 - all contaminated | https://grace-ac.github.io/RNA-isolation-data-org-in-R/
| RNA High sensitivity |  | 2018-04-26 | Out of range | Out of range |  |  | 328 | RNAzol | all |  |  | pellet | isolated on 4/26/19 - all contaminated | https://grace-ac.github.io/RNA-isolation-data-org-in-R/
| RNA High sensitivity |  | 2018-04-26 | Out of range | Out of range |  |  | 486 | RNAzol | all |  |  | pellet | isolated on 4/26/19 - all contaminated | https://grace-ac.github.io/RNA-isolation-data-org-in-R/
| RNA High sensitivity |  | 2018-04-26 | Out of range | Out of range |  |  | 70 | RNAzol | all |  |  | pellet | isolated on 4/26/19 - all contaminated | https://grace-ac.github.io/RNA-isolation-data-org-in-R/
| RNA High sensitivity |  | 2018-04-26 | Out of range | Out of range |  |  | 320 | RNAzol | all |  |  | pellet | isolated on 4/26/19 - all contaminated | https://grace-ac.github.io/RNA-isolation-data-org-in-R/
| RNA High sensitivity |  | 2018-04-26 | Out of range | Out of range |  |  | 516 | RNAzol | all |  |  | pellet | isolated on 4/26/19 - all contaminated | https://grace-ac.github.io/RNA-isolation-data-org-in-R/
| RNA High sensitivity |  | 2018-04-26 | Out of range | Out of range |  |  | 137 | RNAzol | all |  |  | pellet | isolated on 4/26/19 - all contaminated | https://grace-ac.github.io/RNA-isolation-data-org-in-R/
| RNA High sensitivity |  | 2018-04-26 | Out of range | Out of range |  |  | 354 | RNAzol | all |  |  | pellet | isolated on 4/26/19 - all contaminated | https://grace-ac.github.io/RNA-isolation-data-org-in-R/
| RNA High sensitivity |  | 2018-04-26 | Out of range | Out of range |  |  | 462 | RNAzol | all |  |  | pellet | isolated on 4/26/19 - all contaminated | https://grace-ac.github.io/RNA-isolation-data-org-in-R/
2018-04-28_154149 | RNA High sensitivity | Sample_#180428-154225 | 2018-04-28 15:42 | 110 | 4.4 | 5 | 40 | 145 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations-DecaPod/
2018-04-28_154149 | RNA High sensitivity | Sample_#180428-154236 | 2018-04-28 15:42 | 85.3 | 3.41 | 5 | 40 | 171 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations-DecaPod/
2018-04-28_154149 | RNA High sensitivity | Sample_#180428-154215 | 2018-04-28 15:42 | 41 | 1.64 | 5 | 40 | 175 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations-DecaPod/
2018-04-28_154149 | RNA High sensitivity | Sample_#180428-154258 | 2018-04-28 15:42 | 65.6 | 2.62 | 5 | 40 | 336 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations-DecaPod/
2018-04-28_154149 | RNA High sensitivity | Sample_#180428-154247 | 2018-04-28 15:42 | 83 | 3.32 | 5 | 40 | 355 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations-DecaPod/
2018-04-28_154149 | RNA High sensitivity | Sample_#180428-154308 | 2018-04-28 15:43 | 75.8 | 3.03 | 5 | 40 | 306 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations-DecaPod/
2018-04-28_154149 | RNA High sensitivity | Sample_#180428-154318 | 2018-04-28 15:43 | 132 | 5.28 | 5 | 40 | 470 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations-DecaPod/
2018-04-28_154149 | RNA High sensitivity | Sample_#180428-154328 | 2018-04-28 15:43 | 87.8 | 3.51 | 5 | 40 | 487 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations-DecaPod/
2018-04-28_154149 | RNA High sensitivity | Sample_#180428-154338 | 2018-04-28 15:43 | 40.5 | 1.62 | 5 | 40 | 510 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations-DecaPod/
2018-04-29_175738 | RNA High sensitivity | Sample_#180429-175802 | 2018-04-29 17:58 | 0 | 0 | 5 | 40 | 30 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations-DecaPod/
2018-04-29_175738 | RNA High sensitivity | Sample_#180429-175826 | 2018-04-29 17:58 | 135 | 5.4 | 5 | 40 | 45 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations-DecaPod/
2018-04-29_175738 | RNA High sensitivity | Sample_#180429-175815 | 2018-04-29 17:58 | 52.5 | 2.1 | 5 | 40 | 68 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations-DecaPod/
2018-04-29_175738 | RNA High sensitivity | Sample_#180429-175836 | 2018-04-29 17:58 | 89.9 | 3.6 | 5 | 40 | 204 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations-DecaPod/
2018-04-29_175738 | RNA High sensitivity | Sample_#180429-175858 | 2018-04-29 17:58 | 46.9 | 1.88 | 5 | 40 | 207 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations-DecaPod/
2018-04-29_175738 | RNA High sensitivity | Sample_#180429-175848 | 2018-04-29 17:58 | 59.4 | 2.38 | 5 | 40 | 232 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations-DecaPod/
2018-04-29_175738 | RNA High sensitivity | Sample_#180429-175928 | 2018-04-29 17:59 | 188 | 7.52 | 5 | 40 | 414 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations-DecaPod/
2018-04-29_175738 | RNA High sensitivity | Sample_#180429-175907 | 2018-04-29 17:59 | 91.1 | 3.64 | 5 | 40 | 421 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations-DecaPod/
2018-04-29_175738 | RNA High sensitivity | Sample_#180429-175919 | 2018-04-29 17:59 | 126 | 5.04 | 5 | 40 | 436 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations-DecaPod/
2018-05-01_142715 | RNA High sensitivity | Sample_#180501-142736 | 2018-05-01 14:27 | 127 | 5.08 | 5 | 40 | 148 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations/
2018-05-01_142715 | RNA High sensitivity | Sample_#180501-142746 | 2018-05-01 14:27 | 650 | 26 | 5 | 40 | 178 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations/
2018-05-01_142715 | RNA High sensitivity | Sample_#180501-142805 | 2018-05-01 14:28 | 84 | 3.36 | 5 | 40 | 174 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations/
2018-05-01_142715 | RNA High sensitivity | Sample_#180501-142815 | 2018-05-01 14:28 | 71 | 2.84 | 5 | 40 | 318 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations/
2018-05-01_142715 | RNA High sensitivity | Sample_#180501-142838 | 2018-05-01 14:28 | 152 | 6.08 | 5 | 40 | 333 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations/
2018-05-01_142715 | RNA High sensitivity | Sample_#180501-142827 | 2018-05-01 14:28 | 142 | 5.68 | 5 | 40 | 359 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations/
2018-05-01_142715 | RNA High sensitivity | Sample_#180501-142858 | 2018-05-01 14:28 | 70.7 | 2.83 | 5 | 40 | 463 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations/
2018-05-01_142715 | RNA High sensitivity | Sample_#180501-142848 | 2018-05-01 14:28 | 36 | 1.44 | 5 | 40 | 513 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations/
2018-05-01_142715 | RNA High sensitivity | Sample_#180501-142908 | 2018-05-01 14:29 | 128 | 5.12 | 5 | 40 | 482 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations/
2018-05-01_175527 | RNA High sensitivity | Sample_#180501-175837 | 2018-05-01 17:58 | 84.6 | 3.38 | 5 | 40 | 37 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations/
2018-05-01_175527 | RNA High sensitivity | Sample_#180501-175847 | 2018-05-01 17:58 | Out of range | Out of range | 5 | 40 | 141 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations/
2018-05-01_175527 | RNA High sensitivity | Sample_#180501-175901 | 2018-05-01 17:59 | 126 | 5.04 | 5 | 40 | 150 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations/
2018-05-01_175527 | RNA High sensitivity | Sample_#180501-175911 | 2018-05-01 17:59 | 80.6 | 3.22 | 5 | 40 | 221 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations/
2018-05-01_175527 | RNA High sensitivity | Sample_#180501-175935 | 2018-05-01 17:59 | 67.2 | 2.69 | 5 | 40 | 304 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations/
2018-05-01_175527 | RNA High sensitivity | Sample_#180501-175925 | 2018-05-01 17:59 | 67.3 | 2.69 | 5 | 40 | 322 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations/
2018-05-01_175527 | RNA High sensitivity | Sample_#180501-175945 | 2018-05-01 17:59 | 92.8 | 3.71 | 5 | 40 | 427 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations/
2018-05-01_175527 | RNA High sensitivity | Sample_#180501-175956 | 2018-05-01 17:59 | 66.4 | 2.66 | 5 | 40 | 494 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations/
2018-05-01_175527 | RNA High sensitivity | Sample_#180501-180006 | 2018-05-01 18:00 | 85.2 | 3.41 | 5 | 40 | 501 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-isolations/
2018-05-02_130729 | RNA High sensitivity | Sample_#180502-130754 | 2018-05-02 13:07 | 64.8 | 2.59 | 5 | 40 | 107 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-iso-Data-org/
2018-05-02_130729 | RNA High sensitivity | Sample_#180502-130803 | 2018-05-02 13:08 | 132 | 5.28 | 5 | 40 | 73 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-iso-Data-org/
2018-05-02_130729 | RNA High sensitivity | Sample_#180502-130814 | 2018-05-02 13:08 | 51.2 | 2.05 | 5 | 40 | 311 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-iso-Data-org/
2018-05-02_130729 | RNA High sensitivity | Sample_#180502-130824 | 2018-05-02 13:08 | 86.4 | 3.46 | 5 | 40 | 335 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-iso-Data-org/
2018-05-02_130729 | RNA High sensitivity | Sample_#180502-130851 | 2018-05-02 13:08 | 109 | 4.36 | 5 | 40 | 497 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-iso-Data-org/
2018-05-02_130729 | RNA High sensitivity | Sample_#180502-130834 | 2018-05-02 13:08 | 388 | 15.5 | 5 | 40 | 504 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-iso-Data-org/
2018-05-23_145415 | RNA High sensitivity | Sample_#180523-145441 | 2018-05-23 14:54 | 43.8 | 1.75 | 5 | 40 | 40 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-iso-master-data/
2018-05-23_145415 | RNA High sensitivity | Sample_#180523-145452 | 2018-05-23 14:54 | 122 | 4.88 | 5 | 40 | 267 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-iso-master-data/
2018-05-23_145415 | RNA High sensitivity | Sample_#180523-145504 | 2018-05-23 14:55 | 270 | 10.8 | 5 | 40 | 85 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-iso-master-data/
2018-05-23_145415 | RNA High sensitivity | Sample_#180523-145528 | 2018-05-23 14:55 | 124 | 4.96 | 5 | 40 | 89 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-iso-master-data/
2018-05-23_145415 | RNA High sensitivity | Sample_#180523-145546 | 2018-05-23 14:55 | 190 | 7.6 | 5 | 40 | 157 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-iso-master-data/
2018-05-23_145415 | RNA High sensitivity | Sample_#180523-145519 | 2018-05-23 14:55 | 207 | 8.28 | 5 | 40 | 260 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-iso-master-data/
2018-05-23_145415 | RNA High sensitivity | Sample_#180523-145555 | 2018-05-23 14:55 | 163 | 6.52 | 5 | 40 | 361 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-iso-master-data/
2018-05-23_145415 | RNA High sensitivity | Sample_#180523-145538 | 2018-05-23 14:55 | 98.4 | 3.94 | 5 | 40 | 379 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-iso-master-data/
2018-05-24_135020 | RNA High sensitivity | Sample_#180524-135045 | 2018-05-24 13:50 | 180 | 7.2 | 5 | 40 | 3 | RNAzol | all |  |  | pellet |  | no post
2018-05-24_135020 | RNA High sensitivity | Sample_#180524-135058 | 2018-05-24 13:50 | 181 | 7.24 | 5 | 40 | 265 | RNAzol | all |  |  | pellet |  | no post
2018-05-24_135020 | RNA High sensitivity | Sample_#180524-135128 | 2018-05-24 13:51 | 105 | 4.2 | 5 | 40 | 116 | RNAzol | all |  |  | pellet |  | no post
2018-05-24_135020 | RNA High sensitivity | Sample_#180524-135109 | 2018-05-24 13:51 | 61.4 | 2.46 | 5 | 40 | 152 | RNAzol | all |  |  | pellet |  | no post
2018-05-24_135020 | RNA High sensitivity | Sample_#180524-135149 | 2018-05-24 13:51 | 72 | 2.88 | 5 | 40 | 162 | RNAzol | all |  |  | pellet |  | no post
2018-05-24_135020 | RNA High sensitivity | Sample_#180524-135139 | 2018-05-24 13:51 | 105 | 4.2 | 5 | 40 | 276 | RNAzol | all |  |  | pellet |  | no post
2018-05-24_135020 | RNA High sensitivity | Sample_#180524-135119 | 2018-05-24 13:51 | 138 | 5.52 | 5 | 40 | 287 | RNAzol | all |  |  | pellet |  | no post
2018-05-24_135020 | RNA High sensitivity | Sample_#180524-135159 | 2018-05-24 13:51 | 213 | 8.52 | 5 | 40 | 293 | RNAzol | all |  |  | pellet |  | no post
2018-05-24_174551 | RNA High sensitivity | Sample_#180524-174615 | 2018-05-24 17:46 | 255 | 10.2 | 5 | 40 | 16 | RNAzol | all |  |  | pellet |  | no post
2018-05-24_174551 | RNA High sensitivity | Sample_#180524-174615 | 2018-05-24 17:46 | 255 | 10.2 | 5 | 40 | 16 | RNAzol | all |  |  | pellet |  | no post
2018-05-24_174551 | RNA High sensitivity | Sample_#180524-174636 | 2018-05-24 17:46 | 115 | 4.6 | 5 | 40 | 74 | RNAzol | all |  |  | pellet |  | no post
2018-05-24_174551 | RNA High sensitivity | Sample_#180524-174652 | 2018-05-24 17:46 | 164 | 6.56 | 5 | 40 | 92 | RNAzol | all |  |  | pellet |  | no post
2018-05-24_174551 | RNA High sensitivity | Sample_#180524-174644 | 2018-05-24 17:46 | 233 | 9.32 | 5 | 40 | 277 | RNAzol | all |  |  | pellet |  | no post
2018-05-24_174551 | RNA High sensitivity | Sample_#180524-174625 | 2018-05-24 17:46 | 75.7 | 3.03 | 5 | 40 | 380 | RNAzol | all |  |  | pellet |  | no post
2018-05-24_174551 | RNA High sensitivity | Sample_#180524-174710 | 2018-05-24 17:47 | 86.1 | 3.44 | 5 | 40 | 83 | RNAzol | all |  |  | pellet |  | no post
2018-05-24_174551 | RNA High sensitivity | Sample_#180524-174702 | 2018-05-24 17:47 | 52.5 | 2.1 | 5 | 40 | 298 | RNAzol | all |  |  | pellet |  | no post
2018-05-24_174551 | RNA High sensitivity | Sample_#180524-174722 | 2018-05-24 17:47 | 60.3 | 2.41 | 5 | 40 | 366 | RNAzol | all |  |  | pellet |  | no post
| RNA High sensitivity |  | 2018-06-30 | Out of range | Out of range |  |  | 411 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-protocol-with-6ml-RNAzol/
| RNA High sensitivity |  | 2018-06-30 | Out of range | Out of range |  |  | 423 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-protocol-with-6ml-RNAzol/
| RNA High sensitivity |  | 2018-06-30 | Out of range | Out of range |  |  | 503 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-protocol-with-6ml-RNAzol/
| RNA High sensitivity |  | 2018-06-30 | Out of range | Out of range |  |  | 515 | RNAzol | all |  |  | pellet |  | https://grace-ac.github.io/RNA-protocol-with-6ml-RNAzol/
2018-07-31_130943 | RNA High sensitivity | Sample_#180731-131008 | 2018-07-31 13:10 | 114 | 4.56 | 5 | 40 | 451-1 | RNeasy | all |  |  | pellet |  | http://onsnetwork.org/kubu4/2018/07/31/rna-isolation-tanner-crab-hemolymph-using-rneasy-plus-mini-kit/
2018-07-31_130943 | RNA High sensitivity | Sample_#180731-131015 | 2018-07-31 13:10 | 247 | 9.88 | 5 | 40 | 478-1 | RNeasy | all |  |  | pellet |  | http://onsnetwork.org/kubu4/2018/07/31/rna-isolation-tanner-crab-hemolymph-using-rneasy-plus-mini-kit/
2018-07-31_130943 | RNA High sensitivity | Sample_#180731-131022 | 2018-07-31 13:10 | 38.5 | 1.54 | 5 | 40 | 506-1 | RNeasy | all |  |  | pellet |  | http://onsnetwork.org/kubu4/2018/07/31/rna-isolation-tanner-crab-hemolymph-using-rneasy-plus-mini-kit/
2018-07-31_130943 | RNA High sensitivity | Sample_#180731-131029 | 2018-07-31 13:10 | 352 | 14.1 | 5 | 40 | 432-1 | RNeasy | all |  |  | pellet |  | http://onsnetwork.org/kubu4/2018/07/31/rna-isolation-tanner-crab-hemolymph-using-rneasy-plus-mini-kit/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130151 | 2018-08-09 13:01 | Out of range | Out of range | 1 | 200 | 404 | RNeasy | all | 14 | #VALUE! | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130200 | 2018-08-09 13:02 | 90.2 | 18 | 1 | 200 | 408 | RNeasy | all | 14 | 234 | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130207 | 2018-08-09 13:02 | Out of range | Out of range | 1 | 200 | 413 | RNeasy | all | 14 | #VALUE! | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130215 | 2018-08-09 13:02 | Out of range | Out of range | 1 | 200 | 415 | RNeasy | all | 14 | #VALUE! | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130222 | 2018-08-09 13:02 | 86.4 | 17.3 | 1 | 200 | 417 | RNeasy | all | 14 | 224.9 | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130231 | 2018-08-09 13:02 | 149 | 29.8 | 1 | 200 | 420 | RNeasy | all | 14 | 387.4 | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130238 | 2018-08-09 13:02 | Out of range | Out of range | 1 | 200 | 422 | RNeasy | all | 14 | #VALUE! | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130247 | 2018-08-09 13:02 | 26.4 | 5.28 | 1 | 200 | 426 | RNeasy | all | 14 | 68.64 | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130254 | 2018-08-09 13:02 | 41.9 | 8.38 | 1 | 200 | 431 | RNeasy | all | 14 | 108.94 | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130301 | 2018-08-09 13:03 | Out of range | Out of range | 1 | 200 | 433 | RNeasy | all | 14 | #VALUE! | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130309 | 2018-08-09 13:03 | 34.7 | 6.94 | 1 | 200 | 439 | RNeasy | all | 14 | 90.22 | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130315 | 2018-08-09 13:03 | 20 | 4 | 1 | 200 | 442 | RNeasy | all | 14 | 52 | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130322 | 2018-08-09 13:03 | 36.4 | 7.28 | 1 | 200 | 443 | RNeasy | all | 14 | 94.64 | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130329 | 2018-08-09 13:03 | Out of range | Out of range | 1 | 200 | 445 | RNeasy | all | 14 | #VALUE! | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130338 | 2018-08-09 13:03 | Out of range | Out of range | 1 | 200 | 446 | RNeasy | all | 14 | #VALUE! | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130345 | 2018-08-09 13:03 | 36 | 7.2 | 1 | 200 | 447 | RNeasy | all | 14 | 93.6 | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130353 | 2018-08-09 13:03 | 79.5 | 15.9 | 1 | 200 | 449 | RNeasy | all | 14 | 206.7 | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130359 | 2018-08-09 13:03 | Out of range | Out of range | 1 | 200 | 450 | RNeasy | all | 14 | #VALUE! | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130407 | 2018-08-09 13:04 | Out of range | Out of range | 1 | 200 | 456 | RNeasy | all | 14 | #VALUE! | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130414 | 2018-08-09 13:04 | Out of range | Out of range | 1 | 200 | 460 | RNeasy | all | 14 | #VALUE! | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130421 | 2018-08-09 13:04 | Out of range | Out of range | 1 | 200 | 467 | RNeasy | all | 14 | #VALUE! | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130428 | 2018-08-09 13:04 | Out of range | Out of range | 1 | 200 | 472 | RNeasy | all | 14 | #VALUE! | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130434 | 2018-08-09 13:04 | 24 | 4.8 | 1 | 200 | 473 | RNeasy | all | 14 | 62.4 | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130445 | 2018-08-09 13:04 | Out of range | Out of range | 1 | 200 | 475 | RNeasy | all | 14 | #VALUE! | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130455 | 2018-08-09 13:04 | Out of range | Out of range | 1 | 200 | 479 | RNeasy | all | 14 | #VALUE! | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130501 | 2018-08-09 13:05 | 34.3 | 6.86 | 1 | 200 | 480 | RNeasy | all | 14 | 89.18 | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130508 | 2018-08-09 13:05 | Out of range | Out of range | 1 | 200 | 481 | RNeasy | all | 14 | #VALUE! | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130516 | 2018-08-09 13:05 | Out of range | Out of range | 1 | 200 | 483 | RNeasy | all | 14 | #VALUE! | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130524 | 2018-08-09 13:05 | 45.6 | 9.12 | 1 | 200 | 484 | RNeasy | all | 14 | 118.56 | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130531 | 2018-08-09 13:05 | 27.6 | 5.52 | 1 | 200 | 485 | RNeasy | all | 14 | 71.76 | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130538 | 2018-08-09 13:05 | 48.7 | 9.74 | 1 | 200 | 488 | RNeasy | all | 14 | 126.62 | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130545 | 2018-08-09 13:05 | Out of range | Out of range | 1 | 200 | 489 | RNeasy | all | 14 | #VALUE! | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130554 | 2018-08-09 13:05 | Out of range | Out of range | 1 | 200 | 490 | RNeasy | all | 14 | #VALUE! | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130602 | 2018-08-09 13:06 | Out of range | Out of range | 1 | 200 | 495 | RNeasy | all | 14 | #VALUE! | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130609 | 2018-08-09 13:06 | Out of range | Out of range | 1 | 200 | 500 | RNeasy | all | 14 | #VALUE! | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130617 | 2018-08-09 13:06 | Out of range | Out of range | 1 | 200 | 509 | RNeasy | all | 14 | #VALUE! | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130625 | 2018-08-09 13:06 | Out of range | Out of range | 1 | 200 | 511 | RNeasy | all | 14 | #VALUE! | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130633 | 2018-08-09 13:06 | Out of range | Out of range | 1 | 200 | 512 | RNeasy | all | 14 | #VALUE! | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130641 | 2018-08-09 13:06 | Out of range | Out of range | 1 | 200 | 514 | RNeasy | all | 14 | #VALUE! | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-08-09_130126 | RNA High sensitivity | Sample_#180809-130649 | 2018-08-09 13:06 | Out of range | Out of range | 1 | 200 | 517 | RNeasy | all | 14 | #VALUE! | pellet |  | http://onsnetwork.org/kubu4/2018/08/09/rna-isolation-quantificaiton-tanner-crab-hemolymph/
2018-10-05_140038 | RNA High sensitivity | Sample_#181005-140139 | 2018-10-05 14:01 | Out of range | Out of range | 5 | 40 | 482-2 | TriReagent | all |  |  | pellet |  | https://grace-ac.github.io/trireagent-extraction-no-lyophilizer/
2018-10-05_140038 | RNA High sensitivity | Sample_#181005-140129 | 2018-10-05 14:01 | 82.6 | 3.3 | 5 | 40 | 462-2 | TriReagent | all |  |  | pellet |  | https://grace-ac.github.io/trireagent-extraction-no-lyophilizer/
2018-10-05_140038 | RNA High sensitivity | Sample_#181005-140119 | 2018-10-05 14:01 | 38.2 | 1.53 | 5 | 40 | 471-1 | TriReagent | all |  |  | pellet |  | https://grace-ac.github.io/trireagent-extraction-no-lyophilizer/
2018-10-05_140038 | RNA High sensitivity | Sample_#181005-140104 | 2018-10-05 14:01 | 30.9 | 1.24 | 5 | 40 | 101A | TriReagent | all |  |  | pellet |  | https://grace-ac.github.io/trireagent-extraction-no-lyophilizer/
2018-10-10_180824 | RNA High sensitivity | Sample_#181010-180918 | 2018-10-10 18:09 | Out of range | Out of range | 5 | 40 | 410-1 | TriReagent | all |  |  | pellet |  | https://grace-ac.github.io/Tri-reagent-extraction_protocol/
2018-10-10_180824 | RNA High sensitivity | Sample_#181010-180937 | 2018-10-10 18:09 | 71.1 | 2.84 | 5 | 40 | 418-1 | TriReagent | all |  |  | pellet |  | https://grace-ac.github.io/Tri-reagent-extraction_protocol/
2018-10-10_180824 | RNA High sensitivity | Sample_#181010-180952 | 2018-10-10 18:09 | 95.5 | 3.82 | 5 | 40 | 437-1 | TriReagent | all |  |  | pellet |  | https://grace-ac.github.io/Tri-reagent-extraction_protocol/
2018-10-10_180824 | RNA High sensitivity | Sample_#181010-180903 | 2018-10-10 18:09 | Out of range | Out of range | 5 | 40 | 493-1 | TriReagent | all |  |  | pellet |  | https://grace-ac.github.io/Tri-reagent-extraction_protocol/
2018-10-10_180824 | RNA High sensitivity | Sample_#181010-181035 | 2018-10-10 18:10 | 78.1 | 3.12 | 5 | 40 | 405-1 | TriReagent | all |  |  | pellet |  | https://grace-ac.github.io/Tri-reagent-extraction_protocol/
2018-10-10_180824 | RNA High sensitivity | Sample_#181010-181020 | 2018-10-10 18:10 | 46.9 | 1.88 | 5 | 40 | 430-1 | TriReagent | all |  |  | pellet |  | https://grace-ac.github.io/Tri-reagent-extraction_protocol/
2018-10-10_180824 | RNA High sensitivity | Sample_#181010-181007 | 2018-10-10 18:10 | 78.7 | 3.15 | 5 | 40 | 441-1 | TriReagent | all |  |  | pellet |  | https://grace-ac.github.io/Tri-reagent-extraction_protocol/
2018-10-10_180824 | RNA High sensitivity | Sample_#181010-181048 | 2018-10-10 18:10 | 122 | 4.88 | 5 | 40 | 455-1 | TriReagent | all |  |  | pellet |  | https://grace-ac.github.io/Tri-reagent-extraction_protocol/
2018-10-10_180824 | RNA High sensitivity | Sample_#181010-181102 | 2018-10-10 18:11 | 66 | 2.64 | 5 | 40 | 452-1 | TriReagent | all |  |  | pellet |  | https://grace-ac.github.io/Tri-reagent-extraction_protocol/
2018-10-10_180824 | RNA High sensitivity | Sample_#181010-181116 | 2018-10-10 18:11 | Out of range | Out of range | 5 | 40 | 491-1 | TriReagent | all |  |  | pellet |  | https://grace-ac.github.io/Tri-reagent-extraction_protocol/
2018-10-19_132035 | RNA High sensitivity | Sample_#181019-132101 | 2018-10-19 13:21 | Out of range | Out of range | 5 | 40 | 401-2 | TriReagent | all |  |  | pellet |  | https://grace-ac.github.io/RNA-extraction-FASTQC/
2018-10-19_132035 | RNA High sensitivity | Sample_#181019-132112 | 2018-10-19 13:21 | 109 | 4.36 | 5 | 40 | 402-2 | TriReagent | all |  |  | pellet |  | https://grace-ac.github.io/RNA-extraction-FASTQC/
2018-10-19_132035 | RNA High sensitivity | Sample_#181019-132122 | 2018-10-19 13:21 | Out of range | Out of range | 5 | 40 | 403-2 | TriReagent | all |  |  | pellet |  | https://grace-ac.github.io/RNA-extraction-FASTQC/
2018-10-19_132035 | RNA High sensitivity | Sample_#181019-132132 | 2018-10-19 13:21 | 87.7 | 3.51 | 5 | 40 | 417-2 | TriReagent | all |  |  | pellet |  | https://grace-ac.github.io/RNA-extraction-FASTQC/
2018-10-19_132035 | RNA High sensitivity | Sample_#181019-132145 | 2018-10-19 13:21 | Out of range | Out of range | 5 | 40 | 457-2 | TriReagent | all |  |  | pellet |  | https://grace-ac.github.io/RNA-extraction-FASTQC/
2018-10-19_132035 | RNA High sensitivity | Sample_#181019-132154 | 2018-10-19 13:21 | 23 | 0.92 | 5 | 40 | 458-2 | TriReagent | all |  |  | pellet |  | https://grace-ac.github.io/RNA-extraction-FASTQC/
2018-10-19_132035 | RNA High sensitivity | Sample_#181019-132215 | 2018-10-19 13:22 | 73.5 | 2.94 | 5 | 40 | 416-1 | TriReagent | all |  |  | pellet |  | https://grace-ac.github.io/RNA-extraction-FASTQC/
2018-10-19_132035 | RNA High sensitivity | Sample_#181019-132225 | 2018-10-19 13:22 | 284 | 11.4 | 5 | 40 | 448-1 | TriReagent | all |  |  | pellet |  | https://grace-ac.github.io/RNA-extraction-FASTQC/
2018-10-19_132035 | RNA High sensitivity | Sample_#181019-132237 | 2018-10-19 13:22 | 162 | 6.48 | 5 | 40 | 459-1 | TriReagent | all |  |  | pellet |  | https://grace-ac.github.io/RNA-extraction-FASTQC/
2018-10-19_132035 | RNA High sensitivity | Sample_#181019-132205 | 2018-10-19 13:22 | 38.8 | 1.55 | 5 | 40 | 460-2 | TriReagent | all |  |  | pellet |  | https://grace-ac.github.io/RNA-extraction-FASTQC/
2018-10-31_175254 | RNA High sensitivity | Sample_#181031-175335 | 2018-10-31 17:54 | 143 | 28.6 | 1 | 200 | 414-2 | RNeasy | all | 14 | 371.8 | pellet |  | https://grace-ac.github.io/BLAST-R-and-RNeasy-test/
2018-10-31_175254 | RNA High sensitivity | Sample_#181031-175349 | 2018-10-31 17:54 | 125 | 25 | 1 | 200 | 423-2 | RNeasy | all | 14 | 325 | pellet |  | https://grace-ac.github.io/BLAST-R-and-RNeasy-test/
|  |  | 2018-10-31 17:54 |  |  |  |  | 415-2 | RNeasy | all |  |  | pellet | messed up- tossed tubes | https://grace-ac.github.io/BLAST-R-and-RNeasy-test/
|  |  | 2018-10-31 17:54 |  |  |  |  | 424-2 | RNeasy | all |  |  | pellet | messed up- tossed tubes | https://grace-ac.github.io/BLAST-R-and-RNeasy-test/
2018-11-21_185949 | RNA High sensitivity | Sample_#181121-190032 | 2018-11-21 19:01 | 201 | 40.2 | 1 | 200 | 459-2 | RNeasy | all | 14 | 522.6 | pellet |  | https://grace-ac.github.io/Pool-RNeasy-DecaPod-S1E13/
2018-11-21_185949 | RNA High sensitivity | Sample_#181121-190120 | 2018-11-21 19:01 | 328 | 65.6 | 1 | 200 | 451-2 | RNeasy | all | 14 | 852.8 | pellet |  | https://grace-ac.github.io/Pool-RNeasy-DecaPod-S1E13/
2018-11-21_185949 | RNA High sensitivity | Sample_#181121-190137 | 2018-11-21 19:02 | 104 | 20.8 | 1 | 200 | 435-2 | RNeasy | all | 14 | 270.4 | pellet |  | https://grace-ac.github.io/Pool-RNeasy-DecaPod-S1E13/
2018-11-21_185949 | RNA High sensitivity | Sample_#181121-190146 | 2018-11-21 19:02 | 186 | 37.2 | 1 | 200 | 431-2 | RNeasy | all | 14 | 483.6 | pellet |  | https://grace-ac.github.io/Pool-RNeasy-DecaPod-S1E13/
2018-11-21_185949 | RNA High sensitivity | Sample_#181121-190201 | 2018-11-21 19:02 | 297 | 59.4 | 1 | 200 | 443-2 | RNeasy | all | 14 | 772.2 | pellet |  | https://grace-ac.github.io/Pool-RNeasy-DecaPod-S1E13/
2018-11-21_185949 | RNA High sensitivity | Sample_#181121-190211 | 2018-11-21 19:02 | 88.8 | 17.8 | 1 | 200 | 428-2 | RNeasy | all | 14 | 231.4 | pellet |  | https://grace-ac.github.io/Pool-RNeasy-DecaPod-S1E13/
2018-11-21_185949 | RNA High sensitivity | Sample_#181121-190221 | 2018-11-21 19:02 | Out of range | Out of range | 1 | 200 | 413-2 | RNeasy | all | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/Pool-RNeasy-DecaPod-S1E13/
2018-11-21_185949 | RNA High sensitivity | Sample_#181121-190232 | 2018-11-21 19:03 | Out of range | Out of range | 1 | 200 | 407-2 | RNeasy | all | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/Pool-RNeasy-DecaPod-S1E13/
|  |  | 2019-01-14 |  |  |  |  | 427-1 | Trizol-LS | all |  |  | pellet | messed up- tossed tubes | https://grace-ac.github.io/Centrifuge-error-3-fail-extraction/
|  |  | 2019-01-14 |  |  |  |  | 430-2 | Trizol-LS | all |  |  | pellet | messed up- tossed tubes | https://grace-ac.github.io/Centrifuge-error-3-fail-extraction/
|  |  | 2019-01-14 |  |  |  |  | 433-1 | Trizol-LS | all |  |  | pellet | messed up- tossed tubes | https://grace-ac.github.io/Centrifuge-error-3-fail-extraction/
| RNA High sensitivity |  | 2019-01-17 | Out of range | Out of range |  |  | 504-1 | Trizol-LS | all |  |  | pellet |  | https://grace-ac.github.io/Trizol-ls-extraction-fail/
| RNA High sensitivity |  | 2019-01-17 | Out of range | Out of range |  |  | 505-1 | Trizol-LS | all |  |  | pellet |  | https://grace-ac.github.io/Trizol-ls-extraction-fail/
| RNA High sensitivity |  | 2019-01-17 | Out of range | Out of range |  |  | 506-1 | Trizol-LS | all |  |  | pellet |  | https://grace-ac.github.io/Trizol-ls-extraction-fail/
| RNA High sensitivity |  | 2019-01-24 | Out of range | Out of range |  |  | 436-2 | Trizol-LS | all |  |  | pellet |  | https://grace-ac.github.io/TrizolLS-attempt2/
| RNA High sensitivity |  | 2019-01-24 | Out of range | Out of range |  |  | 438-2 | Trizol-LS | all |  |  | pellet |  | https://grace-ac.github.io/TrizolLS-attempt2/
| RNA High sensitivity |  | 2019-01-24 | Out of range | Out of range |  |  | 439-2 | Trizol-LS | all |  |  | pellet |  | https://grace-ac.github.io/TrizolLS-attempt2/
| RNA High sensitivity |  | 2019-02-14 | Out of range | Out of range | 1 |  | 507-1 | RNeasy | all | 14 | #VALUE! | supernatant |  | https://grace-ac.github.io/TrizolLS-supernatant/
| RNA High sensitivity |  | 2019-02-14 | Out of range | Out of range | 1 |  | 510-1 | RNeasy | all | 14 | #VALUE! | supernatant |  | https://grace-ac.github.io/TrizolLS-supernatant/
| RNA High sensitivity |  | 2019-02-14 | Out of range | Out of range | 1 |  | 513-1 | RNeasy | all | 14 | #VALUE! | supernatant |  | https://grace-ac.github.io/TrizolLS-supernatant/
| RNA High sensitivity |  | 2019-02-14 | Out of range | Out of range | 1 |  | 516-1 | RNeasy | all | 14 | #VALUE! | supernatant |  | https://grace-ac.github.io/TrizolLS-supernatant/
| RNA High sensitivity |  | 2019-02-15 | Out of range | Out of range | 1 |  | 507-2 | RNeasy | 50 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/RNeasyKit-with-QIAshredder/
| RNA High sensitivity |  | 2019-02-15 | Out of range | Out of range | 1 |  | 510-2 | RNeasy | 50 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/RNeasyKit-with-QIAshredder/
| RNA High sensitivity |  | 2019-02-15 | Out of range | Out of range | 1 |  | 513-2 | RNeasy | 50 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/RNeasyKit-with-QIAshredder/
| RNA High sensitivity |  | 2019-02-15 |  | 7 | 1 |  | 516-2 | RNeasy | 50 | 14 | 91 | pellet |  | https://grace-ac.github.io/RNeasyKit-with-QIAshredder/
2019-02-20_162727 | RNA High sensitivity | Sample_#190220-162758 | 2019-02-20 16:27 | 70 | 14 | 1 |  | 516-2 | RNeasy | 50 | 14 | 182 | pellet | used up 516-2 during this extraction day | https://grace-ac.github.io/RNeasy-sample-vol-tests/
2019-02-20_162727 | RNA High sensitivity | Sample_#190220-162749 | 2019-02-20 16:27 | 23 | 4.6 | 1 |  | 516-2 | RNeasy | 10 | 14 | 59.8 | pellet | used up 516-2 during this extraction day | https://grace-ac.github.io/RNeasy-sample-vol-tests/
| RNA High sensitivity |  | 2019-03-19 | Out of range | Out of range | 1 |  | 135 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/24sample-RNeasy-extraction/
| RNA High sensitivity |  | 2019-03-19 | Out of range | Out of range | 1 |  | 31 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/24sample-RNeasy-extraction/
| RNA High sensitivity |  | 2019-03-19 | Out of range | Out of range | 1 |  | 90 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/24sample-RNeasy-extraction/
| RNA High sensitivity |  | 2019-03-19 | Out of range | Out of range | 1 |  | 142 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/24sample-RNeasy-extraction/
| RNA High sensitivity |  | 2019-03-19 | Out of range | Out of range | 1 |  | 317 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/24sample-RNeasy-extraction/
| RNA High sensitivity |  | 2019-03-19 | Out of range | Out of range | 1 |  | 342 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/24sample-RNeasy-extraction/
| RNA High sensitivity |  | 2019-03-19 | Out of range | Out of range | 1 |  | 352 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/24sample-RNeasy-extraction/
| RNA High sensitivity |  | 2019-03-19 | Out of range | Out of range | 1 |  | 326 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/24sample-RNeasy-extraction/
| RNA High sensitivity |  | 2019-03-19 | Out of range | Out of range | 1 |  | 242 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/24sample-RNeasy-extraction/
| RNA High sensitivity |  | 2019-03-19 | Out of range | Out of range | 1 |  | 236 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/24sample-RNeasy-extraction/
| RNA High sensitivity |  | 2019-03-19 | Out of range | Out of range | 1 |  | 234 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/24sample-RNeasy-extraction/
| RNA High sensitivity |  | 2019-03-19 | Out of range | Out of range | 1 |  | 212 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/24sample-RNeasy-extraction/
| RNA High sensitivity |  | 2019-03-19 | Out of range | Out of range | 1 |  | 285 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/24sample-RNeasy-extraction/
| RNA High sensitivity |  | 2019-03-19 | Out of range | Out of range | 1 |  | 266 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/24sample-RNeasy-extraction/
| RNA High sensitivity |  | 2019-03-19 | Out of range | Out of range | 1 |  | 271 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/24sample-RNeasy-extraction/
| RNA High sensitivity |  | 2019-03-19 | Out of range | Out of range | 1 |  | 291 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/24sample-RNeasy-extraction/
| RNA High sensitivity |  | 2019-03-19 | Out of range | Out of range | 1 |  | 499 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/24sample-RNeasy-extraction/
| RNA High sensitivity |  | 2019-03-19 | Out of range | Out of range | 1 |  | 506 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/24sample-RNeasy-extraction/
| RNA High sensitivity |  | 2019-03-19 | Out of range | Out of range | 1 |  | 468 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/24sample-RNeasy-extraction/
| RNA High sensitivity |  | 2019-03-19 | Out of range | Out of range | 1 |  | 503 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/24sample-RNeasy-extraction/
| RNA High sensitivity |  | 2019-03-19 | Out of range | Out of range | 1 |  | 458 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/24sample-RNeasy-extraction/
| RNA High sensitivity |  | 2019-03-19 | Out of range | Out of range | 1 |  | 419 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/24sample-RNeasy-extraction/
| RNA High sensitivity |  | 2019-03-19 | Out of range | Out of range | 1 |  | 438 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/24sample-RNeasy-extraction/
| RNA High sensitivity |  | 2019-03-19 | Out of range | Out of range | 1 |  | 455 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/24sample-RNeasy-extraction/
2019-04-03_122608 | RNA High sensitivity | Sample_#190403-122806 | 2019-04-03 12:28 | Out of range | Out of range | 1 | 200 | 438 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/bairdi-RNA-RNeasy/
2019-04-03_122608 | RNA High sensitivity | Sample_#190403-122758 | 2019-04-03 12:27 | Out of range | Out of range | 1 | 200 | 458 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/bairdi-RNA-RNeasy/
2019-04-03_122608 | RNA High sensitivity | Sample_#190403-122751 | 2019-04-03 12:27 | Out of range | Out of range | 1 | 200 | 468 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/bairdi-RNA-RNeasy/
2019-04-03_122608 | RNA High sensitivity | Sample_#190403-122741 | 2019-04-03 12:27 | Out of range | Out of range | 1 | 200 | 499 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/bairdi-RNA-RNeasy/
2019-04-03_122608 | RNA High sensitivity | Sample_#190403-122733 | 2019-04-03 12:27 | Out of range | Out of range | 1 | 200 | 271 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/bairdi-RNA-RNeasy/
2019-04-03_122608 | RNA High sensitivity | Sample_#190403-122726 | 2019-04-03 12:27 | Out of range | Out of range | 1 | 200 | 285 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/bairdi-RNA-RNeasy/
2019-04-03_122608 | RNA High sensitivity | Sample_#190403-122718 | 2019-04-03 12:27 | Out of range | Out of range | 1 | 200 | 234 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/bairdi-RNA-RNeasy/
2019-04-03_122608 | RNA High sensitivity | Sample_#190403-122710 | 2019-04-03 12:27 | Out of range | Out of range | 1 | 200 | 242 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/bairdi-RNA-RNeasy/
2019-04-03_122608 | RNA High sensitivity | Sample_#190403-122702 | 2019-04-03 12:27 | Out of range | Out of range | 1 | 200 | 352 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/bairdi-RNA-RNeasy/
2019-04-03_122608 | RNA High sensitivity | Sample_#190403-122654 | 2019-04-03 12:26 | Out of range | Out of range | 1 | 200 | 317 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/bairdi-RNA-RNeasy/
2019-04-03_122608 | RNA High sensitivity | Sample_#190403-122643 | 2019-04-03 12:26 | Out of range | Out of range | 1 | 200 | 90 | RNeasy | 15 | 14 | #VALUE! | pellet |  | https://grace-ac.github.io/bairdi-RNA-RNeasy/
2019-04-03_122608 | RNA High sensitivity | Sample_#190403-122631 | 2019-04-03 12:26 | 23 | 4.6 | 1 | 200 | 135 | RNeasy | 15 | 14 | 59.8 | pellet |  | https://grace-ac.github.io/bairdi-RNA-RNeasy/
2019-04-01_155616 | RNA High sensitivity | Sample_#190401-155644 | 2019-04-01 15:57 | Out of range | Out of range | 10 | 20 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-01_155616 | RNA High sensitivity | Sample_#190401-155657 | 2019-04-01 15:57 | Out of range | Out of range | 10 | 20 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-01_155616 | RNA High sensitivity | Sample_#190401-155705 | 2019-04-01 15:57 | Out of range | Out of range | 10 | 20 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-01_155616 | RNA High sensitivity | Sample_#190401-155712 | 2019-04-01 15:57 | Out of range | Out of range | 10 | 20 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-01_155616 | RNA High sensitivity | Sample_#190401-155719 | 2019-04-01 15:57 | Out of range | Out of range | 10 | 20 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-01_155616 | RNA High sensitivity | Sample_#190401-155726 | 2019-04-01 15:57 | Out of range | Out of range | 10 | 20 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-01_155616 | RNA High sensitivity | Sample_#190401-155732 | 2019-04-01 15:58 | Out of range | Out of range | 10 | 20 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-01_155616 | RNA High sensitivity | Sample_#190401-155738 | 2019-04-01 15:58 | Out of range | Out of range | 10 | 20 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-01_155616 | RNA High sensitivity | Sample_#190401-155745 | 2019-04-01 15:58 | 33.4 | 0.668 | 10 | 20 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-01_155616 | RNA High sensitivity | Sample_#190401-155805 | 2019-04-01 15:58 | Out of range | Out of range | 10 | 20 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-01_155616 | RNA High sensitivity | Sample_#190401-155812 | 2019-04-01 15:58 | Out of range | Out of range | 10 | 20 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-01_155616 | RNA High sensitivity | Sample_#190401-155818 | 2019-04-01 15:58 | Out of range | Out of range | 10 | 20 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-01_155616 | RNA High sensitivity | Sample_#190401-155826 | 2019-04-01 15:58 | Out of range | Out of range | 10 | 20 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-01_155616 | RNA High sensitivity | Sample_#190401-155832 | 2019-04-01 15:59 | Out of range | Out of range | 10 | 20 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-01_155616 | RNA High sensitivity | Sample_#190401-155838 | 2019-04-01 15:59 | Out of range | Out of range | 10 | 20 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-01_155616 | RNA High sensitivity | Sample_#190401-155845 | 2019-04-01 15:59 | 40.2 | 0.804 | 10 | 20 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-01_155616 | RNA High sensitivity | Sample_#190401-155859 | 2019-04-01 15:59 | Out of range | Out of range | 10 | 20 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-01_155616 | RNA High sensitivity | Sample_#190401-155906 | 2019-04-01 15:59 | 37.6 | 0.752 | 10 | 20 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-01_155616 | RNA High sensitivity | Sample_#190401-155917 | 2019-04-01 15:59 | Out of range | Out of range | 10 | 20 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-01_155616 | RNA High sensitivity | Sample_#190401-155924 | 2019-04-01 15:59 | 24 | 0.48 | 10 | 20 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-01_155616 | RNA High sensitivity | Sample_#190401-155935 | 2019-04-01 16:00 | Out of range | Out of range | 10 | 20 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-01_155616 | RNA High sensitivity | Sample_#190401-155942 | 2019-04-01 16:00 | Out of range | Out of range | 10 | 20 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-01_155616 | RNA High sensitivity | Sample_#190401-155949 | 2019-04-01 16:00 | Out of range | Out of range | 10 | 20 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-01_155616 | RNA High sensitivity | Sample_#190401-155956 | 2019-04-01 16:00 | Out of range | Out of range | 10 | 20 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-03_122608 | RNA High sensitivity | Sample_#190403-122631 | 2019-04-03 12:27 | 23 | 4.6 | 1 | 200 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-03_122608 | RNA High sensitivity | Sample_#190403-122643 | 2019-04-03 12:27 | Out of range | Out of range | 1 | 200 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-03_122608 | RNA High sensitivity | Sample_#190403-122654 | 2019-04-03 12:27 | Out of range | Out of range | 1 | 200 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-03_122608 | RNA High sensitivity | Sample_#190403-122702 | 2019-04-03 12:27 | Out of range | Out of range | 1 | 200 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-03_122608 | RNA High sensitivity | Sample_#190403-122710 | 2019-04-03 12:27 | Out of range | Out of range | 1 | 200 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-03_122608 | RNA High sensitivity | Sample_#190403-122718 | 2019-04-03 12:27 | Out of range | Out of range | 1 | 200 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-03_122608 | RNA High sensitivity | Sample_#190403-122726 | 2019-04-03 12:27 | Out of range | Out of range | 1 | 200 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-03_122608 | RNA High sensitivity | Sample_#190403-122733 | 2019-04-03 12:28 | Out of range | Out of range | 1 | 200 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-03_122608 | RNA High sensitivity | Sample_#190403-122741 | 2019-04-03 12:28 | Out of range | Out of range | 1 | 200 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-03_122608 | RNA High sensitivity | Sample_#190403-122751 | 2019-04-03 12:28 | Out of range | Out of range | 1 | 200 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-03_122608 | RNA High sensitivity | Sample_#190403-122758 | 2019-04-03 12:28 | Out of range | Out of range | 1 | 200 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-03_122608 | RNA High sensitivity | Sample_#190403-122806 | 2019-04-03 12:28 | Out of range | Out of range | 1 | 200 | [5 empty] | pellet |  | from sam - need to find notebook post
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143406 | 2019-04-30 14:34 | 82.9 | 8.29 | 2 | 100 | 13 | Zymo_microprep | 70 | 15 | 107.77 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143412 | 2019-04-30 14:34 | 44.6 | 4.46 | 2 | 100 | 18 | Zymo_microprep | 70 | 15 | 57.98 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143419 | 2019-04-30 14:34 | 204 | 20.4 | 2 | 100 | 28 | Zymo_microprep | 70 | 15 | 265.2 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143426 | 2019-04-30 14:34 | 210 | 21 | 2 | 100 | 33 | Zymo_microprep | 70 | 15 | 273 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143433 | 2019-04-30 14:35 | 329 | 32.9 | 2 | 100 | 75 | Zymo_microprep | 70 | 15 | 427.7 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143439 | 2019-04-30 14:35 | Out of range | Out of range | 2 | 100 | 82 | Zymo_microprep | 70 | 15 | #VALUE! | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143449 | 2019-04-30 14:35 | 347 | 34.7 | 2 | 100 | 84 | Zymo_microprep | 70 | 15 | 451.1 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143456 | 2019-04-30 14:35 | 133 | 13.3 | 2 | 100 | 98 | Zymo_microprep | 70 | 15 | 172.9 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143503 | 2019-04-30 14:35 | 291 | 29.1 | 2 | 100 | 104 | Zymo_microprep | 70 | 15 | 378.3 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143510 | 2019-04-30 14:35 | 426 | 42.6 | 2 | 100 | 105 | Zymo_microprep | 70 | 15 | 553.8 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143516 | 2019-04-30 14:35 | 381 | 38.1 | 2 | 100 | 113 | Zymo_microprep | 70 | 15 | 495.3 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143523 | 2019-04-30 14:35 | 266 | 26.6 | 2 | 100 | 115 | Zymo_microprep | 70 | 15 | 345.8 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143529 | 2019-04-30 14:35 | 510 | 51 | 2 | 100 | 118 | Zymo_microprep | 70 | 15 | 663 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143535 | 2019-04-30 14:36 | 178 | 17.8 | 2 | 100 | 122 | Zymo_microprep | 70 | 15 | 231.4 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143542 | 2019-04-30 14:36 | 720 | 72 | 2 | 100 | 127 | Zymo_microprep | 70 | 15 | 936 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143549 | 2019-04-30 14:36 | 167 | 16.7 | 2 | 100 | 129 | Zymo_microprep | 70 | 15 | 217.1 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143555 | 2019-04-30 14:36 | 454 | 45.4 | 2 | 100 | 131 | Zymo_microprep | 70 | 15 | 590.2 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143601 | 2019-04-30 14:36 | 113 | 11.3 | 2 | 100 | 132 | Zymo_microprep | 70 | 15 | 146.9 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143610 | 2019-04-30 14:36 | 153 | 15.3 | 2 | 100 | 147 | Zymo_microprep | 70 | 15 | 198.9 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143616 | 2019-04-30 14:36 | 201 | 20.1 | 2 | 100 | 159 | Zymo_microprep | 70 | 15 | 261.3 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143623 | 2019-04-30 14:36 | 246 | 24.6 | 2 | 100 | 160 | Zymo_microprep | 70 | 15 | 319.8 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143629 | 2019-04-30 14:36 | 169 | 16.9 | 2 | 100 | 161 | Zymo_microprep | 70 | 15 | 219.7 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143636 | 2019-04-30 14:37 | 199 | 19.9 | 2 | 100 | 206 | Zymo_microprep | 70 | 15 | 258.7 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143643 | 2019-04-30 14:37 | 193 | 19.3 | 2 | 100 | 219 | Zymo_microprep | 70 | 15 | 250.9 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143652 | 2019-04-30 14:37 | 306 | 30.6 | 2 | 100 | 222 | Zymo_microprep | 70 | 15 | 397.8 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143658 | 2019-04-30 14:37 | 137 | 13.7 | 2 | 100 | 235 | Zymo_microprep | 70 | 15 | 178.1 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143704 | 2019-04-30 14:37 | 239 | 23.9 | 2 | 100 | 244 | Zymo_microprep | 70 | 15 | 310.7 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143711 | 2019-04-30 14:37 | 166 | 16.6 | 2 | 100 | 255 | Zymo_microprep | 70 | 15 | 215.8 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143717 | 2019-04-30 14:37 | 179 | 17.9 | 2 | 100 | 280 | Zymo_microprep | 70 | 15 | 232.7 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143724 | 2019-04-30 14:37 | 248 | 24.8 | 2 | 100 | 288 | Zymo_microprep | 70 | 15 | 322.4 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143731 | 2019-04-30 14:38 | 75.4 | 7.54 | 2 | 100 | 295 | Zymo_microprep | 70 | 15 | 98.02 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143738 | 2019-04-30 14:38 | 110 | 11 | 2 | 100 | 330 | Zymo_microprep | 70 | 15 | 143 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143744 | 2019-04-30 14:38 | 219 | 21.9 | 2 | 100 | 331 | Zymo_microprep | 70 | 15 | 284.7 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143751 | 2019-04-30 14:38 | 160 | 16 | 2 | 100 | 332 | Zymo_microprep | 70 | 15 | 208 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143757 | 2019-04-30 14:38 | 156 | 15.6 | 2 | 100 | 334 | Zymo_microprep | 70 | 15 | 202.8 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143804 | 2019-04-30 14:38 | 191 | 19.1 | 2 | 100 | 345 | Zymo_microprep | 70 | 15 | 248.3 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143811 | 2019-04-30 14:38 | 188 | 18.8 | 2 | 100 | 347 | Zymo_microprep | 70 | 15 | 244.4 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143817 | 2019-04-30 14:38 | 204 | 20.4 | 2 | 100 | 350 | Zymo_microprep | 70 | 15 | 265.2 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143823 | 2019-04-30 14:38 | 136 | 13.6 | 2 | 100 | 351 | Zymo_microprep | 70 | 15 | 176.8 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143830 | 2019-04-30 14:38 | 213 | 21.3 | 2 | 100 | 356 | Zymo_microprep | 70 | 15 | 276.9 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143836 | 2019-04-30 14:39 | 211 | 21.1 | 2 | 100 | 364 | Zymo_microprep | 70 | 15 | 274.3 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143843 | 2019-04-30 14:39 | 243 | 24.3 | 2 | 100 | 367 | Zymo_microprep | 70 | 15 | 315.9 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143849 | 2019-04-30 14:39 | 315 | 31.5 | 2 | 100 | 369 | Zymo_microprep | 70 | 15 | 409.5 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143855 | 2019-04-30 14:39 | 52.7 | 5.27 | 2 | 100 | 401 | Zymo_microprep | 70 | 15 | 68.51 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143901 | 2019-04-30 14:39 | 103 | 10.3 | 2 | 100 | 402 | Zymo_microprep | 70 | 15 | 133.9 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143908 | 2019-04-30 14:39 | Out of range | Out of range | 2 | 100 | 403 | Zymo_microprep | 70 | 15 | #VALUE! | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143916 | 2019-04-30 14:39 | 122 | 12.2 | 2 | 100 | 409 | Zymo_microprep | 70 | 15 | 158.6 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143922 | 2019-04-30 14:39 | 113 | 11.3 | 2 | 100 | 411 | Zymo_microprep | 70 | 15 | 146.9 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143930 | 2019-04-30 14:40 | 63.8 | 6.38 | 2 | 100 | 413 | Zymo_microprep | 70 | 15 | 82.94 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143936 | 2019-04-30 14:40 | 123 | 12.3 | 2 | 100 | 415 | Zymo_microprep | 70 | 15 | 159.9 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143943 | 2019-04-30 14:40 | 299 | 29.9 | 2 | 100 | 425 | Zymo_microprep | 70 | 15 | 388.7 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143949 | 2019-04-30 14:40 | 267 | 26.7 | 2 | 100 | 432 | Zymo_microprep | 70 | 15 | 347.1 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-143956 | 2019-04-30 14:40 | 216 | 21.6 | 2 | 100 | 439 | Zymo_microprep | 70 | 15 | 280.8 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-144002 | 2019-04-30 14:40 | 198 | 19.8 | 2 | 100 | 449 | Zymo_microprep | 70 | 15 | 257.4 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-144008 | 2019-04-30 14:40 | 102 | 10.2 | 2 | 100 | 455 | Zymo_microprep | 70 | 15 | 132.6 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-144014 | 2019-04-30 14:40 | 100 | 10 | 2 | 100 | 457 | Zymo_microprep | 70 | 15 | 130 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-144021 | 2019-04-30 14:40 | 199 | 19.9 | 2 | 100 | 471 | Zymo_microprep | 70 | 15 | 258.7 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-144027 | 2019-04-30 14:40 | 99.1 | 9.91 | 2 | 100 | 473 | Zymo_microprep | 70 | 15 | 128.83 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-144034 | 2019-04-30 14:41 | 198 | 19.8 | 2 | 100 | 480 | Zymo_microprep | 70 | 15 | 257.4 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-144041 | 2019-04-30 14:41 | 179 | 17.9 | 2 | 100 | 481 | Zymo_microprep | 70 | 15 | 232.7 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-144047 | 2019-04-30 14:41 | 238 | 23.8 | 2 | 100 | 484 | Zymo_microprep | 70 | 15 | 309.4 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-144054 | 2019-04-30 14:41 | 76.1 | 7.61 | 2 | 100 | 485 | Zymo_microprep | 70 | 15 | 98.93 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-144101 | 2019-04-30 14:41 | 234 | 23.4 | 2 | 100 | 488 | Zymo_microprep | 70 | 15 | 304.2 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-144110 | 2019-04-30 14:41 | 40.2 | 4.02 | 2 | 100 | 493 | Zymo_microprep | 70 | 15 | 52.26 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-144116 | 2019-04-30 14:41 | 195 | 19.5 | 2 | 100 | 499 | Zymo_microprep | 70 | 15 | 253.5 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html
2019-04-30_143341 | RNA High sensitivity | Sample_#190430-144123 | 2019-04-30 14:41 | 132 | 13.2 | 2 | 100 | 504 | Zymo_microprep | 70 | 15 | 171.6 | pellet |  | https://robertslab.github.io/sams-notebook/2019/04/30/RNA-Isolation-and-Quantification-C.bairdi-Hemolymph-Pellet-in-RNAlater.html