## notes
Successful runs have std curves of 100% +/- 10% & R2 of 0.99
Successful sample runs have Cq Std Dev of 0.5 or less
Col A: FRP#
Col E,P: purple highlight=3 samples sent to UW for trial RNA extraction
Col B: SQ Mean of sample
red highlighted Cq Mean=samples with unacceptable Cq Std Dev for quantificationdue to unequal sample volumes in qPCR
Col C: SQ Std. Dev of sample
Col D: sample pos/neg; sample Cq mean exceeds lowest concentration Std mean Cq (neg), or not (pos)
green POS or NEG highlighted are samples w/o acceptable std dev, so no quantification, but pos or neg status is clear.
orange 'iffy' highlighted are samples w/o acceptable Cq Std Dev, so no quantification, and with 1 rep pos & 1 rep neg & very close to Cq of most dilute standard.
Col E: DNA concentration, ng/ul (Qubit)
x=out of DNA
Col F: Run name (date & order)
Col G: comments
Col H: corresponding RNAlater tube number for 'yellow' samples (RNAlater preserved), or from EtoH plates on Day 0/1
Col I: treatment tank
Col J: treatment type

## data
FRP# | SQ Mean | SQ Std. Dev | sample pos/neg | Qubit [ng/ul] | run | Comments | Yellow Tube # | trtmnt tank | trtmnt type
2017-6235 |  |  | iffy | 3.56 | 5/3/2018 first |  | Day 0/1 (EtoH) | 5 | warm
2017-6175 | 10.1 | 4.61 | POS | x | 5/3/2018 first | 31-G08 has 2ul DNA in D1 & maybe 0.5 ul in D2 well (4 reps pos) | Day 0/1 (EtoH) | 3 | cold
2017-6178 |  |  | POS | x | 4/24/18 third | poor run but out of DNA | Day 0/1 (EtoH) | 1 | cold
2017-6208 |  |  | POS | x | 4/24/18 third | poor run but out of DNA | Day 0/1 (EtoH) | 2 | cold
2017-6277 | 7.32 | 6.04 | POS | x | 4/25/18 second | 32-E12 has 2ul DNA in C1 & 1 ul in C2 well. | Day 0/1 (EtoH) | 3 | cold
2017-6223 | 0.851 | 0 | neg | 2.58 | 4/25/18 fourth |  | Day 0/1 (EtoH) | 4 | warm
2017-6104 | 0 | 0 | neg | 0.49 | 4/25/18 fourth |  | Day 0/1 (EtoH) | 3 | cold
2017-6117 | 1.97 | 0.109 | neg | 0.804 | 4/25/18 fourth |  | Day 0/1 (EtoH) | 2 | cold
2017-6167 | 268 | 17.1 | pos | 2.02 | 4/27/18 2nd |  | Day 0/1 (EtoH) | 1 | cold
2017-6130 |  |  | NEG | 1.5 |  |  | Day 0/1 (EtoH) | 8 | ambient
2017-6152 | 0.877 | 0.0108 | neg | x | 4/27/18 2nd |  | Day 0/1 (EtoH) | 7 | ambient
2017-6176 | 1.31 | 0 | neg | 1.94 | 4/25/18 fourth |  | Day 0/1 (EtoH) | 8 | ambient
2017-6133 | 0.833 | 0.105 | neg | 2.96 | 4/25/18 fourth |  | Day 0/1 (EtoH) | 2 | cold
2017-6221 | 146 | 9.4 | pos | 0.472 | 4/25/18 fourth |  | Day 0/1 (EtoH) | 6 | warm
2017-6234 | 0 | 0 | neg | 3.6 | 4/25/18 fourth |  | Day 0/1 (EtoH) | 4 | warm
2017-6105 | 66.2 | 0.636 | pos | 2.42 | 4/25/18 fourth |  | Day 0/1 (EtoH) | 2 | cold
2017-6216 | 2.53 | 0.377 | neg | 2.9 | 4/27/18 2nd |  | Day 0/1 (EtoH) | 4 | warm
2017-6174 | 208 | 20.3 | pos |  | 4/25/18 fourth |  | Day 0/1 (EtoH) | 2 | cold
2017-6146 | 0 | 0 | neg | 1.17 | 4/25/18 fourth |  | Day 0/1 (EtoH) | 9 | ambient
2017-6127 | 187 | 15.5 | pos |  | 4/25/18 fourth |  | Day 0/1 (EtoH) | 8 | ambient
2017-6115 | 2860 | 313 | pos |  | 4/25/18 fourth |  | Day 0/1 (EtoH) | 9 | ambient
2017-6106 | 9.99 | 1.21 | pos | 2.46 | 4/25/18 fourth |  | Day 0/1 (EtoH) | 3 | cold
2017-6279 | 939 | 62.8 | pos |  | 4/25/18 fourth |  | Day 0/1 (EtoH) | 1 | cold
2017-6131 |  |  | iffy | 1.43 |  |  | Day 0/1 (EtoH) | 9 | ambient
2017-6179 | 0.213 | 0 | neg | 4.14 | 4/25/18 fourth |  | Day 0/1 (EtoH) | 9 | ambient
2017-6230 | 4.6 | 0.788 | pos | 3.48 | 4/27/18 2nd |  | Day 0/1 (EtoH) | 5 | warm
2017-6153 | 103 | 27.6 | pos |  | 4/25/18 fourth |  | Day 0/1 (EtoH) | 1 | cold
2017-6144 | 485 | 100 | pos |  | 4/25/18 fourth |  | Day 0/1 (EtoH) | 7 | ambient
2017-6232 |  |  | 4 rep neg | 2.96 |  |  | Day 0/1 (EtoH) | 5 | warm
2017-6248 | 0.497 | 0 | neg | 1.57 | 4/27/18 2nd |  | Day 0/1 (EtoH) | 6 | warm
2017-6237 | 1330 | 59.4 | pos | 1.54 | 4/25/18 fourth |  | Day 0/1 (EtoH) | 4 | warm
2017-6103 | 173 | 40.5 | pos |  | 4/25/18 fourth |  | Day 0/1 (EtoH) | 1 | cold
2017-6276 | 0.724 | 0 | neg | 1.71 | 4/25/18 fourth |  | Day 0/1 (EtoH) | 9 | ambient
2017-6242 | 155 | 17.2 | pos |  | 4/27/18 2nd |  | Day 0/1 (EtoH) | 6 | warm
2017-6113 | 23.6 | 1.12 | pos |  | 4/25/18 fourth |  | Day 0/1 (EtoH) | 1 | cold
2017-6241 | 15300 | 225 | pos |  | 4/25/18 fourth |  | Day 0/1 (EtoH) | 8 | ambient
2017-6134 | 170 | 6.43 | pos |  | 4/25/18 fourth |  | Day 0/1 (EtoH) | 7 | ambient
2017-6254 | 1.13 | 0.365 | neg | 2.4 | 4/25/18 fourth |  | Day 0/1 (EtoH) | 5 | warm
2017-6116 | 422 | 58.7 | pos |  | 4/25/18 fourth |  | Day 0/1 (EtoH) | 1 | cold
2017-6161 | 0 | 0 | neg | 2.38 | 4/25/18 fourth |  | Day 0/1 (EtoH) | 9 | ambient
2017-6137 | 167 | 5.39 | pos |  | 4/25/18 fourth |  | Day 0/1 (EtoH) | 9 | ambient
2017-6148 | 775 | 21.4 | pos |  | 4/25/18 fourth |  | Day 0/1 (EtoH) | 1 | cold
2017-6162 | 612 | 1.98 | pos |  | 4/25/18 fourth |  | Day 0/1 (EtoH) | 1 | cold
2017-6129 | 3360 | 515 | pos |  | 4/25/18 fourth |  | Day 0/1 (EtoH) | 5 | warm
2017-6154 | 1.47 | 0.0561 | neg | 3.72 | 4/24/18 second |  | Day 0/1 (EtoH) | 2 | cold
2017-6118 | 280 | 24.1 | pos |  | 4/24/18 second |  | Day 0/1 (EtoH) | 2 | cold
2017-6111 | 27.9 | 3.7 | pos |  | 4/25/18 third |  | Day 0/1 (EtoH) | 7 | ambient
2017-6224 | 52.3 | 4.24 | pos |  | 4/24/18 second |  | Day 0/1 (EtoH) | 4 | warm
2017-6229 | 0 | 0 | neg | 2.56 | 4/25/18 third |  | Day 0/1 (EtoH) | 6 | warm
2017-6164 | 249 | 45.5 | pos |  | 4/25/18 third |  | Day 0/1 (EtoH) | 3 | cold
2017-6145 | 49.1 | 9.01 | pos |  | 4/24/18 second |  | Day 0/1 (EtoH) | 9 | ambient
2017-6126 | 747 | 115 | pos |  | 4/24/18 second |  | Day 0/1 (EtoH) | 1 | cold
2017-6165 | 4.56 | 1.01 | pos |  | 4/24/18 second |  | Day 0/1 (EtoH) | 7 | ambient
2017-6169 | 24.8 | 3.33 | pos |  | 4/24/18 second |  | Day 0/1 (EtoH) | 8 | ambient
2017-6155 | 103 | 3.32 | pos |  | 4/24/18 second |  | Day 0/1 (EtoH) | 7 | ambient
2017-6225 | 163000 | 26000 | pos | 9.6 | 4/24/18 second |  | Day 0/1 (EtoH) | 5 | warm
2017-6262 | 78.8 | 8.29 | pos |  | 4/24/18 second |  | Day 0/1 (EtoH) | 5 | warm
2017-6173 | 335 | 33.1 | pos |  | 4/24/18 second |  | Day 0/1 (EtoH) | 1 | cold
2017-6149 | 127000 | 1250 | pos | 3.7 | 4/24/18 second |  | Day 0/1 (EtoH) | 2 | cold
2017-6226 | 1.93 | 0.668 | neg | x | 4/24/18 second |  | Day 0/1 (EtoH) | 4 | warm
2017-6172 | 221 | 43.1 | pos |  | 4/24/18 second |  | Day 0/1 (EtoH) | 1 | cold
2017-6124 | 1240 | 64 | pos |  | 4/24/18 second |  | Day 0/1 (EtoH) | 7 | ambient
2017-6170 | 749 | 161 | pos |  | 4/24/18 second |  | Day 0/1 (EtoH) | 9 | ambient
2017-6198 |  |  | POS | x |  |  | Day 0/1 (EtoH) | 2 | cold
2017-6101 | 19.1 | 1.84 | pos |  | 4/25/18 third |  | Day 0/1 (EtoH) | 1 | cold
2017-6138 | 15.7 | 1.69 | pos |  | 4/25/18 third |  | Day 0/1 (EtoH) | 3 | cold
2017-6244 | 235 | 52.7 | pos |  | 4/24/18 second |  | Day 0/1 (EtoH) | 5 | warm
2017-6188 | 1090 | 1.81 | pos |  | 4/24/18 second |  | Day 0/1 (EtoH) | 3 | cold
2017-6199 | 210 | 26 | pos |  | 4/24/18 second |  | Day 0/1 (EtoH) | 3 | cold
2017-6136 | 0 | 0 | neg | 1.43 | 4/25/18 first |  | Day 0/1 (EtoH) | 8 | ambient
2017-6132 | 1.92 | 0 | neg | 1.51 | 4/25/18 first |  | Day 0/1 (EtoH) | 1 | cold
2017-6123 | 12.8 | 2.59 | pos |  | 4/25/18 first |  | Day 0/1 (EtoH) | 7 | ambient
2017-6197 | 2600 | 265 | pos |  | 4/25/18 first |  | Day 0/1 (EtoH) | 3 | cold
2017-6197 | 0.925 | 0.094 | neg | 1.63 | 4/25/18 first |  | Day 0/1 (EtoH) | 3 | cold
2017-6227 | 70.7 | 8.07 | pos |  | 4/27/18 2nd |  | Day 0/1 (EtoH) | 6 | warm
2017-6250 | 120000 | 5090 | pos |  | 4/25/18 first |  | Day 0/1 (EtoH) | 5 | warm
2017-6177 | 334 | 62.2 | pos |  | 4/25/18 first |  | Day 0/1 (EtoH) | 3 | cold
2017-6142 | 3350 | 82.7 | pos |  | 4/25/18 first |  | Day 0/1 (EtoH) | 7 | ambient
2017-6273 | 211000 | 9730 | pos | X | 4/25/18 first |  | Day 0/1 (EtoH) | 5 | warm
2017-6123 | 4.23 | 0.525 | pos | 6.72 | 4/25/18 first |  | Day 0/1 (EtoH) | 7 | ambient
2017-6122 | 586 | 32.6 | pos | x | 4/25/18 first | 1.0 ul DNA in ea well | Day 0/1 (EtoH) | 8 | ambient
2017-6219 | 652 | 53.8 | pos |  | 4/25/18 first |  | Day 0/1 (EtoH) | 4 | warm
2017-6203 | 9140 | 2330 | pos |  | 4/25/18 first |  | Day 0/1 (EtoH) | 2 | cold
2017-6212 | 546000 | 90600 | pos | X | 4/25/18 first |  | Day 0/1 (EtoH) | 8 | ambient
2017-6272 | 2.41 | 0.457 | neg | 7.72 | 4/25/18 first |  | Day 0/1 (EtoH) | 8 | ambient
2017-6209 | 464 | 42.5 | pos |  | 4/25/18 first |  | Day 0/1 (EtoH) | 3 | cold
2017-6252 | 0 | 0 | neg | 5.34 | 4/25/18 first |  | Day 0/1 (EtoH) | 8 | ambient
2017-6205 | 19100 | 115 | pos |  | 4/25/18 first |  | Day 0/1 (EtoH) | 7 | ambient
2017-6139 |  |  | 4 rep pos | x |  |  | Day 0/1 (EtoH) | 8 | ambient
2017-6147 | 7.5 | 2.36 | pos | 1.19 | 4/25/18 first |  | Day 0/1 (EtoH) | 1 | cold
2017-6236 | 1.36 | 0.0866 | neg | 3.32 | 4/25/18 first |  | Day 0/1 (EtoH) | 6 | warm
2017-6214 |  |  | POS | x |  |  | Day 0/1 (EtoH) | 9 | ambient
2017-6274 | 9070 | 1970 | pos |  | 4/25/18 first |  | Day 0/1 (EtoH) | 6 | warm
2017-6210 | 5590 | 215 | pos |  | 4/25/18 first |  | Day 0/1 (EtoH) | 4 | warm
2017-6211 | 316000 | 32100 | pos | 18.1 | 4/25/18 first |  | Day 0/1 (EtoH) | 7 | ambient
2017-6240 | 2120 | 88.1 | pos |  | 4/25/18 first |  | Day 0/1 (EtoH) | 6 | warm
2017-6158 | 628 | 35.2 | pos |  | 4/25/18 first |  | Day 0/1 (EtoH) | 8 | ambient
2017-6222 | 5.81 | 0.353 | pos | 10.2 | 4/25/18 first |  | Day 0/1 (EtoH) | 4 | warm
2017-6196 | 563 | 8.02 | pos |  | 4/25/18 first |  | Day 0/1 (EtoH) | 1 | cold
2017-6271 | 2.95 | 0.933 | neg | x | 4/24/18 third | poor run but out of DNA | Day 0/1 (EtoH) | 5 | warm
2017-6213 | 1.33 | 0.423 | neg | 58.6 | 4/25/18 first |  | Day 0/1 (EtoH) | 9 | ambient
2017-6150 | 0 | 0 | neg | 2.08 | 4/25/18 first |  | Day 0/1 (EtoH) | 9 | ambient
2017-6168 | 10.5 | 2.71 | pos |  | 4/25/18 first |  | Day 0/1 (EtoH) | 7 | ambient
2017-6163 | 97.2 | 31.6 | pos |  | 4/25/18 first |  | Day 0/1 (EtoH) | 2 | cold
2017-6171 | 761000 | 23800 | pos | 37.6 | 4/25/18 first |  | Day 0/1 (EtoH) | 2 | cold
2017-6245 | 104 | 7.5 | pos |  | 4/27/18 2nd |  | Day 0/1 (EtoH) | 6 | warm
2017-6202 | 2470 | 81.4 | pos |  | 4/25/18 first |  | Day 0/1 (EtoH) | 8 | ambient
2017-6282 | 2.48 | 0.753 | neg |  | 4/27/18 2nd |  | Day 0/1 (EtoH)
2017-6215 | 302 | 21.8 | pos |  | 4/25/18 second |  | Day 0/1 (EtoH) | 3 | cold
2017-6243 | 4510 | 78.8 | pos |  | 4/27/18 2nd |  | Day 0/1 (EtoH) | 4 | warm
2017-6270 | 3450 | 810 | pos |  | 4/25/18 second |  | Day 0/1 (EtoH) | 4 | warm
2017-6107 | 0.859 | 0.0733 | neg | 7.44 | 4/25/18 second |  | Day 0/1 (EtoH) | 7 | ambient
2017-6108 | 7.76 | 0.537 | pos | 0.232 | 4/25/18 second |  | Day 0/1 (EtoH) | 3 | cold
2017-6261 | 3350 | 399 | pos | 11.4 | 4/25/18 second |  | Day 0/1 (EtoH) | 4 | warm
2017-6239 | 1500 | 425 | pos |  | 4/25/18 second |  | Day 0/1 (EtoH) | 5 | warm
2017-6281 |  |  | POS | x |  |  | Day 0/1 (EtoH)
2017-6207 | 162 | 0.142 | pos |  | 4/25/18 second |  | Day 0/1 (EtoH) | 1 | cold
2017-6135 | 0.979 | 0 | neg | 19.2 | 4/25/18 second |  | Day 0/1 (EtoH) | 8 | ambient
2017-6231 | 0.377 | 0 | neg | x | 4/27/18 2nd |  | Day 0/1 (EtoH) | 4 | warm
2017-6128 | 14800 | 4880 | pos |  | 4/27/18 2nd |  | Day 0/1 (EtoH) | 2 | cold
2017-6141 | 13100 | 2060 | pos |  | 4/25/18 second |  | Day 0/1 (EtoH) | 3 | cold
2017-6218 | 0.883 | 0.0659 | neg | 15.2 | 4/25/18 second |  | Day 0/1 (EtoH) | 6 | warm
2017-6206 | 51.3 | 2.67 | pos |  | 4/25/18 second |  | Day 0/1 (EtoH) | 9 | ambient
2017-6217 |  |  | ? | x |  |  | Day 0/1 (EtoH) | 5 | warm
2017-6280 |  |  | NEG | x |  |  | Day 0/1 (EtoH)
2017-6275 |  |  | NEG | x |  |  | Day 0/1 (EtoH) | 6 | warm
2017-6159 | 350 | 2.22 | pos |  | 4/25/18 second |  | Day 0/1 (EtoH) | 9 | ambient
2017-6238 |  |  | 2 rep neg | x |  |  | Day 0/1 (EtoH) | 6 | warm
2017-6190 | 10.1 | 1.72 | pos |  | 4/25/18 second |  | Day 0/1 (EtoH) | 1 | cold
2017-6268 | 0 | 0 | neg | 0.272 | 4/25/18 second |  | Day 0/1 (EtoH) | 6 | warm
2017-6201 | 50.1 | 5.03 | pos |  | 4/25/18 second |  | Day 0/1 (EtoH) | 7 | ambient
2017-6181 | 0.824 | 0.277 | neg | 4.02 | 4/25/18 second |  | Day 0/1 (EtoH) | 7 | ambient
2017-6263 | 29.2 | 2.56 | pos |  | 4/25/18 second |  | Day 0/1 (EtoH) | 6 | warm
2017-6192 | 283 | 15.4 | pos |  | 4/25/18 second |  | Day 0/1 (EtoH) | 7 | ambient
2017-6264 | 0 | 0 | neg | 3.28 | 4/25/18 second |  | Day 0/1 (EtoH) | 4 | warm
2017-6247 |  |  | NEG | 2.54 |  |  | Day 0/1 (EtoH) | 5 | warm
2017-6251 | 148 | 17.7 | pos |  | 4/27/18 2nd |  | Day 0/1 (EtoH) | 6 | warm
2017-6110 | 1.77 | 0 | neg | 6.44 | 4/27/18 2nd |  | Day 0/1 (EtoH) | 8 | ambient
2017-6269 | 256 | 63 | pos |  | 4/25/18 second |  | Day 0/1 (EtoH) | 6 | warm
2017-6267 | 1.49 | 0.19 | neg | 0.174 | 4/25/18 second |  | Day 0/1 (EtoH) | 5 | warm
2017-6195 | 418 | 77.1 | pos |  | 4/25/18 second |  | Day 0/1 (EtoH) | 9 | ambient
2017-6187 | 2770 | 96 | pos |  | 4/25/18 second |  | Day 0/1 (EtoH) | 2 | cold
2017-6266 | 199 | 56.3 | pos |  | 4/25/18 second |  | Day 0/1 (EtoH) | 4 | warm
2017-6119 | 4.5 | 0.202 | pos | 5.1 | 4/25/18 second |  | Day 0/1 (EtoH) | 3 | cold
2017-6255 | 1780 | 145 | pos |  | 4/25/18 second |  | Day 0/1 (EtoH) | 4 | warm
2017-6278 | 41100 | 571 | pos |  | 4/25/18 second |  | Day 0/1 (EtoH) | 1 | cold
2017-6256 |  |  | POS | X |  |  | Day 0/1 (EtoH) | 5 | warm
2017-6186 | 0 | 0 | neg | 4.24 | 4/25/18 second |  | Day 0/1 (EtoH) | 9 | ambient
2017-6265 | 16.5 | 4.1 | pos |  | 4/25/18 third |  | Day 0/1 (EtoH) | 5 | warm
2017-6191 | 0.593 | 0 | neg | 3.34 | 4/27/18 2nd |  | Day 0/1 (EtoH) | 2 | cold
2017-6220 | 198 | 26.6 | pos |  | 4/27/18 2nd |  | Day 0/1 (EtoH) | 5 | warm
2017-6200 | 0 | 0 | neg | 3.24 | 5/3/2018 first |  | Day 0/1 (EtoH) | 1 | cold
2017-6120 | 1100 | 23.4 | pos |  | 4/25/18 third |  | Day 0/1 (EtoH) | 3 | cold
2017-6157 | 1.11 | 0.227 | neg | 0.904 | 4/27/18 2nd |  | Day 0/1 (EtoH) | 2 | cold
2017-6114 | 389 | 119 | pos |  | 4/25/18 third |  | Day 0/1 (EtoH) | 8 | ambient
2017-6260 |  |  | NEG | 0.69 |  |  | Day 0/1 (EtoH) | 6 | warm
2017-6185 | 6.97 | 1.16 | pos | 3.58 | 4/25/18 third |  | Day 0/1 (EtoH) | 8 | ambient
2017-6194 | 39.1 | 8.96 | pos |  | 4/25/18 third |  | Day 0/1 (EtoH) | 2 | cold
2017-6189 | 2.01 | 0.228 | neg | 1.87 | 4/27/18 2nd |  | Day 0/1 (EtoH) | 1 | cold
2017-6193 | 333 | 33.8 | pos |  | 4/25/18 third |  | Day 0/1 (EtoH) | 8 | ambient
2017-6249 | 32.2 | 3.7 | pos | 0.446 | 4/25/18 third |  | Day 0/1 (EtoH) | 4 | warm
2017-6257 |  |  | POS | x |  |  | Day 0/1 (EtoH) | 6 | warm
2017-6109 | 0 | 0 | neg | 5.12 | 4/25/18 third |  | Day 0/1 (EtoH) | 7 | ambient
2017-6259 | 0.259 | 0 | neg | 7.08 | 4/25/18 third |  | Day 0/1 (EtoH) | 5 | warm
2017-6228 | 78.7 | 6.64 | pos | 4.5 | 4/25/18 third |  | Day 0/1 (EtoH) | 5 | warm
2017-6121 | 121 | 8.25 | pos | 2 | 4/27/18 2nd |  | Day 0/1 (EtoH) | 7 | ambient
2017-6112 |  |  | 4 rep neg | 6.72 |  |  | Day 0/1 (EtoH) | 9 | ambient
2017-6182 | 14600 | 972 | pos | 2.6 | 4/25/18 third |  | Day 0/1 (EtoH) | 7 | ambient
2017-6258 | 0.543 | 0.0213 | neg | 7.38 | 4/27/18 2nd |  | Day 0/1 (EtoH) | 4 | warm
2017-6183 | 2280 | 110 | pos |  | 4/27/18 2nd |  | Day 0/1 (EtoH) | 8 | ambient
2017-6180 | 0.589 | 0 | neg | 1.21 | 4/27/18 2nd |  | Day 0/1 (EtoH) | 6 | warm
2017-6156 | 0.263 | 0.0627 | neg | 7.84 | 4/25/18 third |  | Day 0/1 (EtoH) | 3 | cold
2017-6125 | 69 | 8.82 | pos |  | 4/27/18 2nd |  | Day 0/1 (EtoH) | 9 | ambient
2017-6143 | 0.764 | 0 | neg | 1.02 | 4/27/18 2nd |  | Day 0/1 (EtoH) | 7 | ambient
2017-6166 | 0 | 0 | neg | 2.28 | 4/25/18 third |  | Day 0/1 (EtoH) | 8 | ambient
2017-6253 | 0 | 0 | neg | 1.22 | 4/27/18 2nd |  | Day 0/1 (EtoH) | 4 | warm
2017-6151 | 27.4 | 8.68 | pos |  | 4/25/18 third |  | Day 0/1 (EtoH) | 3 | cold
2017-6102 | 0.376 | 0 | neg | 5 | 4/25/18 third |  | Day 0/1 (EtoH) | 2 | cold
2017-6160 | 0 | 0 | neg | 3.8 | 4/25/18 third |  | Day 0/1 (EtoH) | 2 | cold
2017-6140 | 7.74 | 1.81 | pos |  | 4/27/18 2nd |  | Day 0/1 (EtoH) | 2 | cold
2017-6246 | 0 | 0 | neg | 6.4 | 4/27/18 first |  | Day 0/1 (EtoH) | 4 | warm
2017-6184 | 238 | 14.9 | pos |  | 4/25/18 third |  | Day 0/1 (EtoH) | 9 | ambient
2017-6210 | 3560 | 562 | pos |  | 3/29/18 1st |  | 401 | 4 | warm
2017-6103 | 193 | 24.5 | pos |  | 3/29/18 second |  | 409 | 1 | cold
2017-6116 | 449 | 118 | pos |  | 3/29/18 second |  | 417 | 1 | cold
2017-6203 | 32.1 | 2.56 | pos | 2.2 | 4/25/18 third |  | 425 | 2 | cold
2017-6174 | 157 | 3.43 | pos |  | 3/29/18 1st |  | 433 | 2 | cold
2017-6128 | 697 | 59.8 | pos |  | 3/29/18 1st |  | 441 | 2 | cold
2017-6108 | 135 | 25.8 | pos |  | 3/29/18 second |  | 455 | 3 | cold
2017-6180 | 129 | 16.3 | pos |  | 3/29/18 1st |  | 402 | 6 | warm
2017-6178 | 504 | 5.96 | pos |  | 4/24/18 second |  | 410 | 1 | cold
2017-6126 | 461 | 67.8 | pos |  | 3/29/18 second |  | 418 | 1 | cold
2017-6160 | 57.9 | 0.783 | pos |  | 3/29/18 1st |  | 426 | 2 | cold
2017-6133 | 210 | 8.13 | pos |  | 4/24/18 second |  | 434 | 2 | cold
2017-6191 | 532 | 80.9 | pos |  | 3/29/18 1st |  | 442 | 2 | cold
2017-6197 | 169 | 12.7 | pos |  | 3/29/18 1st |  | 449 | 3 | cold
2017-6177 | 498 | 123 | pos |  | 3/29/18 second |  | 456 | 3 | cold
2017-6129 | 7770 | 1060 | pos |  | 3/29/18 1st |  | 403 | 5 | warm
2017-6279 | 555 | 96 | pos |  | 3/29/18 second |  | 411 | 1 | cold
2017-6113 | 24.9 | 0.142 | pos |  | 3/29/18 second |  | 419 | 1 | cold
2017-6171 | 5.84 | 1.63 | pos | 1.28 | 4/24/18 second |  | 427 | 2 | cold
2017-6208 | 1120 | 219 | pos |  | 3/29/18 1st |  | 435 | 2 | cold
2017-6188 | 193 | 12.3 | pos |  | 3/29/18 1st |  | 443 | 3 | cold
2017-6106 | 148 | 0.831 | pos |  | 3/29/18 1st |  | 450 | 3 | cold
2017-6215 | 214 | 36.7 | pos |  | 4/24/18 second |  | 457 | 3 | cold
2017-6153 | 55.9 | 11.6 | pos |  | 3/29/18 1st |  | 404 | 1 | cold
2017-6207 | 129 | 30.4 | pos |  | 4/27/18 2nd |  | 412 | 1 | cold
2017-6173 | 1340 | 271 | pos |  | 3/29/18 second |  | 420 | 1 | cold
2017-6198 | 247 | 30.7 | pos |  | 3/29/18 1st |  | 428 | 2 | cold
2017-6154 | 94.9 | 16.3 | pos |  | 3/29/18 1st |  | 436 | 2 | cold
2017-6209 | 170 | 15.4 | pos |  | 3/29/18 1st |  | 444 | 3 | cold
2017-6141 | 427 | 35.1 | pos |  | 3/29/18 1st |  | 451 | 3 | cold
2017-6104 | 37 | 3.16 | pos |  | 3/29/18 second |  | 458 | 3 | cold
2017-6148 | 247 | 26.2 | pos |  | 3/29/18 1st |  | 405 | 1 | cold
2017-6278 | 5740 | 716 | pos |  | 3/29/18 second |  | 413 | 1 | cold
2017-6147 | 420 | 86.8 | pos |  | 3/29/18 second |  | 421 | 1 | cold
2017-6140 | 110 | 8.87 | pos |  | 3/29/18 1st |  | 429 | 2 | cold
2017-6149 | 5100 | 1320 | pos |  | 3/29/18 1st |  | 437 | 2 | cold
2017-6199 | 2890 | 296 | pos |  | 3/29/18 1st |  | 445 | 3 | cold
2017-6190 | 116 | 17.4 | pos |  | 3/29/18 1st |  | 452 | 1 | cold
2017-6132 | 117 | 21.5 | pos |  | 4/24/18 second |  | 406 | 1 | cold
2017-6167 | 664 | 31.1 | pos |  | 3/29/18 second |  | 414 | 1 | cold
2017-6189 | 172 | 39.8 | pos |  | 3/29/18 second |  | 422 | 1 | cold
2017-6118 | 333 | 32.1 | pos |  | 3/29/18 1st |  | 430 | 2 | cold
2017-6105 | 96.7 | 12.8 | pos |  | 3/29/18 1st |  | 438 | 2 | cold
2017-6156 | 499 | 104 | pos |  | 4/24/18 second |  | 446 | 3 | cold
2017-6138 | 68.4 | 12 | pos |  | 3/29/18 1st |  | 453 | 3 | cold
2017-6162 | 1150 | 80.4 | pos |  | 3/29/18 1st |  | 407 | 1 | cold
2017-6101 | 65.3 | 8.52 | pos |  | 3/29/18 second |  | 415 | 1 | cold
2017-6157 | 185 | 9.82 | pos |  | 3/29/18 second |  | 423 | 2 | cold
2017-6187 | 119 | 1.79 | pos |  | 3/29/18 1st |  | 431 | 2 | cold
2017-6102 | 64.9 | 2.56 | pos |  | 3/29/18 1st |  | 439 | 2 | cold
2017-6175 | 911 | 92.2 | pos |  | 3/29/18 1st |  | 447 | 3 | cold
2017-6151 | 615 | 65.9 | pos |  | 3/29/18 1st |  | 454 | 3 | cold
2017-6196 | 348 | 25.2 | pos |  | 3/29/18 1st |  | 408 | 1 | cold
2017-6200 | 270 | 66.3 | pos |  | 3/29/18 second |  | 416 | 1 | cold
2017-6163 | 185 | 22.6 | pos |  | 3/29/18 second |  | 424 | 2 | cold
2017-6194 | 80.3 | 12.8 | pos |  | 4/24/18 second |  | 432 | 2 | cold
2017-6117 | 97.5 | 5.49 | pos |  | 3/29/18 1st |  | 440 | 2 | cold
2017-6204 | 385 | 93.4 | pos |  | 3/29/18 1st |  | 448 | 3 | cold
2017-6120 | 138 | 18.8 | pos | 1.78 | 3/29/18 second |  | 459 | 3 | cold
2017-6152 | 571 | 69.3 | pos |  | 3/29/18 second |  | 467 | 7 | ambient
2017-6205 | 444 | 71.7 | pos |  | 3/27/18 third |  | 475 | 7 | ambient
2017-6193 | 393 | 61 | pos |  | 4/24/18 first |  | 482 | 8 | ambient
2017-6176 | 109 | 15.8 | pos |  | 4/24/18 first |  | 490 | 8 | ambient
2017-6127 | 149 | 11.8 | pos |  | 4/24/18 first |  | 497 | 8 | ambient
2017-6145 | 233 | 8.46 | pos |  | 4/24/18 first |  | 505 | 9 | ambient
2017-6184 | 189 | 49.7 | pos |  | 3/29/18 second |  | 513 | 9 | ambient
2017-6164 | 1530 | 284 | pos |  | 4/24/18 second |  | 460 | 3 | cold
2017-6111 | 927 | 93.7 | pos |  | 3/29/18 second |  | 468 | 7 | ambient
2017-6155 | 1180 | 78.9 | pos |  | 4/24/18 first |  | 476 | 7 | ambient
2017-6158 | 548 | 60.1 | pos |  | 4/24/18 first |  | 483 | 8 | ambient
2017-6136 | 220 | 8.65 | pos |  | 4/24/18 first |  | 491 | 8 | ambient
2017-6130 | 159 | 2.08 | pos |  | 4/24/18 first |  | 498 | 8 | ambient
2017-6213 | 148 | 20.8 | pos |  | 4/24/18 first |  | 506 | 9 | ambient
2017-6115 | 64.7 | 15.4 | pos | 0.406 | 3/29/18 second |  | 514 | 9 | ambient
2017-6119 | 92.4 | 7.73 | pos |  | 3/29/18 second |  | 461 | 3 | cold
2017-6165 | 52.5 | 6.24 | pos |  | 4/24/18 second |  | 469 | 7 | ambient
2017-6144 | 1400 | 5.65 | pos |  | 3/27/18 third |  | 477 | 7 | ambient
2017-6114 | 147 | 14.1 | pos |  | 4/24/18 first |  | 484 | 8 | ambient
2017-6135 | 230 | 9.44 | pos |  | 4/24/18 first |  | 492 | 8 | ambient
2017-6112 | 513 | 7.33 | pos |  | 4/24/18 first |  | 499 | 9 | ambient
2017-6131 | 244 | 4.53 | pos |  | 4/24/18 first |  | 507 | 9 | ambient
2017-6179 | 47.2 | 4.88 | pos | 0.534 | 3/29/18 second |  | 515 | 9 | ambient
2017-6182 | 143 | 22.1 | pos |  | 4/24/18 second |  | 462 | 7 | ambient
2017-6181 | 146 | 6.32 | pos |  | 3/29/18 second |  | 470 | 7 | ambient
2017-6212 | 120000 | 12500 | pos | 1.98 | 4/24/18 first |  | 485 | 8 | ambient
2017-6139 | 122 | 5.26 | pos |  | 4/24/18 first |  | 493 | 8 | ambient
2017-6137 | 663 | 87.9 | pos |  | 3/27/18 third |  | 500 | 9 | ambient
2017-6159 | 455 | 45.4 | pos |  | 4/24/18 first |  | 508 | 9 | ambient
2017-6170 | 564 | 0.395 | pos |  | 4/24/18 second |  | 516 | 9 | ambient
2017-6192 | 1950 | 469 | pos |  | 3/29/18 second |  | 463 | 7 | ambient
2017-6107 | 121 | 5.09 | pos |  | 3/29/18 second |  | 471 | 7 | ambient
2017-6201 | 445 | 58 | pos |  | 4/24/18 first |  | 478 | 7 | ambient
2017-6169 | 643 | 38.9 | pos |  | 4/24/18 first |  | 486 | 8 | ambient
2017-6183 | 313 | 5.16 | pos |  | 4/24/18 first |  | 494 | 8 | ambient
2017-6195 | 160 | 3.83 | pos |  | 3/27/18 third |  | 501 | 9 | ambient
2017-6206 | 544 | 40.5 | pos |  | 4/24/18 first |  | 509 | 9 | ambient
2017-6172 | 107 | 9.52 | pos |  | 4/24/18 second |  | 517 | 1 | cold
2017-6124 | 163 | 7.13 | pos |  | 3/29/18 second |  | 464 | 7 | ambient
2017-6121 | 687 | 2.09 | pos |  | 3/27/18 third |  | 472 | 7 | ambient
2017-6143 | 203 | 10.8 | pos |  | 4/24/18 first |  | 479 | 7 | ambient
2017-6185 | 326 | 54.8 | pos |  | 4/24/18 first |  | 487 | 8 | ambient
2017-6202 | 285 | 34.1 | pos |  | 4/24/18 first |  | 495 | 8 | ambient
2017-6146 | 763 | 2.3 | pos |  | 4/24/18 first |  | 502 | 9 | ambient
2017-6186 | 253 | 20.1 | pos |  | 4/24/18 first |  | 510 | 9 | ambient
2017-6134 | 122 | 14.1 | pos |  | 3/29/18 second |  | 465 | 7 | ambient
2017-6123 | 213 | 29.3 | pos |  | 3/27/18 third |  | 473 | 7 | ambient
2017-6109 | 471 | 2.95 | pos |  | 3/27/18 third |  | 480 | 7 | ambient
2017-6110 | 177 | 7.76 | pos |  | 4/24/18 first |  | 488 | 8 | ambient
2017-6125 | 276 | 1.93 | pos |  | 4/24/18 first |  | 503 | 9 | ambient
2017-6150 | 64 | 4.91 | pos | 0.212 | 4/24/18 first |  | 511 | 9 | ambient
2017-6168 | 207 | 49.5 | pos |  | 3/29/18 second |  | 466 | 7 | ambient
2017-6142 | 1860 | 481 | pos |  | 3/29/18 second |  | 474 | 7 | ambient
2017-6211 | 472 | 67 | pos |  | 3/27/18 third |  | 481 | 7 | ambient
2017-6122 | 862 | 82.6 | pos |  | 4/24/18 first |  | 489 | 8 | ambient
2017-6166 | 252 | 11.1 | pos |  | 4/24/18 first |  | 496 | 8 | ambient
2017-6214 | 4940 | 127 | pos |  | 4/24/18 first |  | 504 | 9 | ambient
2017-6161 | 198 | 5.43 | pos |  | 4/24/18 first |  | 512 | 9 | ambient